 TOF Update
Paul Eugenio &
Alexander Ostrovidov
Florida State University
 GlueX Collaboration Meeting	Jefferson Lab	May 12, 2009

---
Current TOF efforts
Study new PMTs
Study and understand single paddle performance
Further develop readout optics
  - Finalize light guide design and/or scintillator bar dimensions
Investigate construction techniques
  - Develop assembly and quality assurance procedures
Continue software reconstruction development

---
Single paddle construction
for test set-up
Tyvek wrapped
trapezoidal light guide
  - 6 cm -> 4.6 cm
EJ-500 optical joints

---
Light-tight test set-up
~3 meter light-tight box
precision PMT holders
1 cm x 6 cm and 4 cm x 6cm scint. telescopes for triggering
plan to tighten trigger after set-up debugging.

---
Trigger telescope
1 x 6 cm scint.	4 x 6 cm scint

---
Test DAQ system
  - VME 64X crate
  - Caen vx1718 VME bridge
  - Caen v812 CFD
  - F1TDC Module
    - developed working interface
  - Caen V265 ADC
    - plan to replace w/ FADC
  - + Caen VME scalers
  - & Misc. NIM electronics

---
Light guide prototyping
Open Issue
Iron shielding extends out beyond 7 cm O.D.
- cannot use straight fish tail light guides on 6cm scint. bars
scint. bar
100” x 1” x 2.362”
Hamamatsu H10570SEL
pmt & mu-metal sleeve
2.385” OD
DOM 1040
steel tube
3.00”/2.75” OD/ID
minimum 3mm thick iron shield is required

---
Light guide prototyping
development of a fish-tail + straight bend light guide
cylindrical rod
4.6 cm OD x 10 cm
fish-tail
7 cm length
straight bend
2.54 x 6 x 12 cm
~90 cm r.o.c

---
Prototype construction
2 piece construction
  - 12x2.54x6 cm
  - 7+10 cm fish-tail
developed bending jig for straight piece
  - 90 cm radius of curvature
Lucite bending
  - 350oF for ~45min
Plan for one piece construction
bending jig

---
Prototype light guide

---
First timing measurements
with a single TOF paddle
Alexander Ostrovidov (FSU)
Preliminary TDC timing measurements with cosmic rays:
  • a single 254cm x 6 cm x 2.54 cm EJ-200 scintillator paddle
  • trapezoidal lightguides
  • wrapped in Tyvek
  • XP2020UR PMT (12-stage) on both ends
  • different trigger paddle(s) configurations
Purpose of the current study:
  • develop a procedure for timing measurements
  • setup and debug DAQ and electronics
  • compare with previous measurements from IU/Protvino
  • prepare for comparison of different PMTs, lightguides,
    paddle geometries and wrappings

---
Setup
4cm trigger
1cm trigger
1cm/4cm telescope
Cosmic rate: 2000ev/hr 500ev/hr 50ev/hr

---
F1 TDC notes
• We had to convert Dave Abbott's F1 TDC library
  from the memory-mapped mode into unmapped
  (“function calls”) one to use with our VME bridge
• Some time was spent to understand and find a workaround
  for two “solvable” issues:
• Initializing TDC with front panel signals present does not
  produce an error but results in no data. This is solved with
  a “switch to backplane – initialize – switch to front panel” trick.
• Occasionally, the same event gets stuck for a few minutes.
  Presumably, this happens when another TDC Start arrives
  before the previous TDC Stop. This is possible because
  we are using TDC in non-synchronous mode with a simple
  trigger logic. For now, the kludge is to remove repeating identical
  events in software.

---
TDC signal from a single (left) PMT
x = 50in
(paddle center)

---
Mean TDC value vs position for a single PMT
1. Results are shown for 4cm trigger paddle
2. Delays for left and right channels are not equalized yet

---
Time resolution vs position for a single PMT
Results are shown for 4cm trigger paddle
No obvious position
dependence
Trigger resolution
seems to dominate
any contribution from
light attenuation

---
Time Difference (TR-TL )/2 at the paddle center

---
Average Time (TR+ TL )/2 at the paddle center

---
Time Difference and Average Time vs position
Results are shown for 4cm trigger paddle
From the slope, cscint=15 cm/ns
(IU has measured 16 cm/ns)
Variations of ~500ps
are comparable to σTav

---
Resolution of ΔT and Tav vs position
Results are shown for 4cm trigger paddle
Note: for 1cm/4cm tel. trigger, preliminary
measurement of σΔT is ~150ps

---
Stability over a long time period
Events were taken at the paddle center (x=50in) with 1cm/4cm tel.trigger over 72 hours
Good news: 1ns variations I saw previously with a pulser are
down to 100 ps
Bad news: 100 ps is still not zero...

---
Preliminary conclusions
• We have a working setup to conduct measurements in order
  to establish an optimal paddle/PMT configuration for TOF.
• With XP2020UR and default paddle geometry, a signal is reliably
  detected over the whole 254cm paddle length.
• TDC time dependence on position is linear as expected, with
  a measured effective c = 15 cm/ns.
• With our best trigger paddle configuration, a time difference
  resolution of 150 ps was achieved. This is slightly worse but
  still comparable to the previous IU measurement of ~100 ps
  for a similar configuration. We may try to improve our trigger
  by going to 1cm/1cm telescope.
• We still need to understand the source of 100 ps timing
  instability because it is comparable in magnitude with
  the expected resolution.

---
Ongoing Efforts
Finalize light guide design
Study and understand single paddle performance
Continue investigation of construction techniques
  - Develop assembly and quality assurance procedures
Continue software reconstruction development