## Slide 1: Start Counter Update
W. U. Boeglin, L. Guo, E. Pooser

## Slide 2
Scintillator elements (covered reflective material)
Upstream support
Readout electronics
Outer cover (for light tightness)

## Slide 3
Inner support

## Slide 4
Preamp
Buffer to ADC
X5 amp to TDC
Temperature regulation
Thermo couple
ST 2
ST 1
3 groups of SiPM
Signal sum for each group
Bias for each group

## Slide 5
Micro coax ribbon cable

## Slide 7: Recent Developments
Contract with Jefferson Lab signed
Scintillator manufacturing
Production test stand design
Assembly setup design

## Slide 8: Scintillator Manufacturing
Eljen is bending scintillator bars
  Turned out to be more difficult than expected
  New protective material for machining
  Expect better protection
McNeal is machining the edges
  Detailed handling instructions
  Expect better result
  New batch of 5 scintillators to arrive next week

## Slide 9: Scintillator Bar Aging
No more performance deterioration
Imporved performace
Expected Results
Bent Region

## Slide 10: Beam Bunch Separation
achievable
13%
7%
3%
<1%

## Slide 11: Test Stand
Notes: Backup slide of test stand design for SC fabrication

## Slide 12: Assembly Setup
Notes: Backup slide of SC assembly setup for SC construction.

## Slide 13: Plans
Perform timing studies on new Eljen/McNeal paddles
Construct production test stand
Order materials
Construct assembly setup
Start Production