## Slide 1
Status of the Beam Flux Normalization
from TAC runs
A. Somov
GlueX Collaboration Meeting,
February 22, 2019

## Slide 2
Photon Flux Determination
Determine number of collimated photons N using Pair Spectrometer:
1 ) Determine (A  )PS from MC, measure LConv
2 ) Determine (A  )PS  LConv using known flux
(measured TAC)
Take data with two triggers, PS and TAC. For each tagger counter, compute NPS / N TAC

## Slide 3
Systematic Uncertainties in the PS Acceptance
(Lumi) Determination
Impact of the material in front of the converter and downstream on the
PS acceptance measurement (MC simulation, measurements)
Uncertainties on the measurement of the converter thickness (normalization)
 determine relative converter thickness using PS/ST scalers
PS acceptance shape determination
- Measure using TAC runs
- Compare with MC simulation
Systematic uncertainties
- energy scale of the tagger
- parameterization of the fit function

## Slide 4
Pair Spectrometer Calibration using
Endpoint Energy
Energy endpoint of the Pair Spectrometer
PS energy scale was determined from MC simulation (realistic field map)
- use to calibrate PS energy scale (assume that the beam energy is known)

## Slide 5
Unification of the Tagger & PS Energy Scales
E PS – E TAGGER
Pair Spectrometer magnet is expected to be better mapped compared
with the tagger magnet (PS magnet is about 1 m long, compared with a
6-m long tagger magnet)
- PS can be used to calibrate tagger energy
run at 8.9 GeV beam energy
Energy difference between
TAGH and PS is about
30 MeV
TAGM energy differs by
about 30 MeV from TAGH
Is this difference real ?

## Slide 6
Unification of the Tagger & PS Energy Scales
Correct Tagger energy according to PS
E CCAL – E TAGGER before correction
E CCAL – E TAGGER after correction
PS Coverage
Slightly non-linear response of the CCAL

## Slide 7
CCAL as TAC
Several TAC runs were taken during PrimEx commissioning in December 2018
(beam energy 8.9 GeV)
Lowered PS magnetic field, took data to stusy Compton production at low-energy and high-energy beam energies

## Slide 8
Next Steps
We work on the determination of lumi for PrimEx runs
TAGH & TAGM energy scales have to be calibrated
- update PS energy , acceptance, and TAGM/TAGH acceptances
in the CCDB
Redo analysis of TAC runs

## Slide 9
Backup Slides

## Slide 10
Analyses Overview
TAGH counter
FADC sample
TAC Trigger
PS Trigger
FADC time
TAGH counter
Trigger Time
Determine number of TAGH hits correlated
with the trigger time for the PS and TAC
triggers
- subtract accidentals for each tagger
counter
Compute NPS / N TAC

## Slide 11
TAC Runs
 | Converter | Field (T) | Current (nA) | Radiator | Collimator | Conditions
Spring 2016 | 75, 750 m Be 500 m Al | 1.8 | ~ 5 | 2  10-5 | 3 mm | move collimator
Spring 2017 | 750 m Be | 1.6 | 10 | 2  10-5 | 1 mm | Profiler 1.1 mm Pb
Spring 2018 1/31/2018 Runs: 41170 - 41171 | 750 m Be | 1.6 | 30 | V-wire | 5 mm | Profiler 1.1 mm Pb
4/11/2018 Runs: 42081 – 42093 | 75, 750 m Be | 1.6 | 30 | V-wire | 5 mm | 
5/4/2018 Runs: 42517 42538 | 750 m Be | 1.6 | 30 | V-wire | 5 mm | 0.1 m W plate Filled target Empty target

## Slide 12
TAC Run Conditions in Spring 2018
Beam current 30 nA
Data acquired using V-wire radiator
- problems with locking beam using an active collimator during the
TAC run in January
- took data by using the beam profiler lock
(1.1 mm lead plate in front of the profiler)
- lock with an active collimator in later TAC runs
Typical rates
TAC: 100 kHz - trigger threshold, 250 fadc counts (about 1 GeV)
prescaling factor of the TAC trigger is 65
PS: 5 – 10 Hz with 750 m Be converter
Readout modes: production, except for TAC (raw mode) L.T. == 100 %

## Slide 13
Systematic Uncertainties in TAC Measurements
Acceptance dependence on the collimator alignment and beam intensity
- shift position of the collimator by  2 mm
- use a photon pencil beam and realistic beam profile
- changes in the PS acceptance < 1 %
small effect due to the continuous energy coverage of the PS detectors
Interactions of beam photons downstream the converter
- implement realistic material downstream the FCAL
- estimated acceptance corrections < 1% (slightly depend on the photon energy
- apply corrections to the measured acceptance
- compare acceptance using TAC runs with empty/filled target

## Slide 14
Systematic Uncertainties in TAC Measurements
Impact of the material in front of the converter on the PS acceptance
measurement
- profiler lead plate, 0.1 mm W plate
Uncertainties of the measurement of the converter thickness (normalization)
 relatively small statistics in TAC runs with a 75 m converter
- measure the shape of the PS acceptance using a 750 m converter
- measure relative converter thickness using PS/ST scalers

## Slide 15
Impact of Beamline Material on the TAC Measurements
TAC
Vacuum pipe, plexiglass window,
beam counter
FCAL dark box
windows
Added materials for TAC and other beamline components to Geant
Use realistic beam spectrum, simulate TAC response
The fraction photons lost due to interactions depends on the TAC energy threshold
- it varies between 0.6 % and 0.3 % for beam photons in the range 6 GeV to 12 GeV
Material downstream the FCAL

## Slide 16
Runs with Empty / Filled Target
Will be verified with MC simulation
Run 42517 (Filled target)
Run 42538 (Empty target)
R = N (filled) / N (empty) = 1.011  0.004
Relative change in the acceptance normalization
- expect increase of the acceptance, TAC rate should be smaller due to interactions
of beam photons
- measured change of the acceptance:

## Slide 17
Absorber Plates in front of the Collimator
Compare PS acceptances for runs with no absorber and with the lead (profiler)
and 0.1 mm W plates
Normalize acceptance to data with no absorber , R = ( A – A(plate) ) / A
- predict smaller acceptance for runs with an absorber plate
Uncertainties of the acceptance normalization are on the level of 0.005
Use run 42081 for the
acceptance normalization
(no absorber)

## Slide 18
Acceptance Normalization
(converter thickness)

## Slide 19
Acceptance Normalization
We use a 75 m Be converter in most production runs
The converter thickness can be determined using two methods:
Method 1: Measure directly in TAC runs with a a 75 m converter
Method 2: Measure APS Lconv using high-statistics TAC runs with a
750 m converter
Extract the relative converter thickness from the measurement of
the RPS/RST in runs with 75 m and 750 m converters
FADC scalers are recorded to the data stream at SYNC event

## Slide 20
Method 1: TAC Run with a 75 m Converter
TAC run with a 75 m converter
- PS trigger rate is on the level of 1 Hz (sensitive to background)
- requires a long run
- fix the shape of the acceptance, fit for the normalization

## Slide 21
Measure PS coincidence rate and fadc scaler
rates for ST
- scalers are ‘relatively good’ synchronized and
are recorded to data
Compute normalized rate R PS / R ST
- extract the relative converter thickness
using runs with 75 m 750 m converters
PS rate
ST rate
R ST / R PS
Method 2: Relative Converter Thickness
Run 42534

## Slide 22
Acceptance Normalization
RST / RPS
Normalized rates RST / RPS
75 m
750 m
30 nA
60 nA
100 nA
150 nA
200 nA
Rate ratio measured in various
runs with different luminosity
R obtained in rate scans < 1.3 %
- working on understanding background
Measurement of the photon flux with
different sub-detectors is important for
understanding of systematics
(especially for PrimEx)
Runs 42525 - 42534

## Slide 23
Acceptance Normalization
RST / RPS
Normalized rates RST / RPS
30 nA
60 nA
100 nA
150 nA
200 nA

## Slide 24
Discussion
Several TAC runs have been performed in 2016, 2017, and 2018
- Beamline conditions were different during these runs
- The TAC performance (resolution) is not completely understood
The PS acceptance was extracted using these runs
- The relative acceptance difference for runs with a 750 m (1.8 T field) is on
the level of 5 %
- The difference is mostly related to different TAC run conditions and will be
accounted for
The relative thickness of 75 m and 750 m Be converters was measured using
a TAC run with the 75 m converter (using small statistics)
- The relative converter thickness will be refined using PS/ST scalers

## Slide 25
Next Steps
Depending on MCC tests of cavity BPMs, consider to run at smaller currents
with a thin converter foil; it may provide better beam stability
We need to understand performance of TAC
- TAC has to be checked in summer
- CompCal will be used for some TAC runs during this fall

## Slide 26
TAC Voltage Adjustment
TAGH counter
ADC amplitude (counts)
1880 V used in new runs
1800 V default voltage
in 2016/ 2017

## Slide 27
Analyses Overview
TAGH counter
FADC spectrum run 41169
ADC amplitude (counts)
Do not apply TAC energy constraints in the analyses
- set ADC threshold, subtract accidentals
Asymmetric shape, bad resolution 16 % at 9 GeV (seen on both the peak amplitude and
pulse integral)
- problems with a divider ( ? )
- radiation damage to lead glass ( ? )
(checked accidentals in the TAC adc sideband)
FADC amplitude (counts)

## Slide 28
TAC Response in MC simulation
ADC amplitude (counts)
TAC energy, incoherent bremsstrahlung (relative energy resolution 15 %)
- no simulation of high-energy tails
ADC amplitude (counts)
Beam Energy

## Slide 29
Beam energy (GeV)
E (TAC) – EBeam (GeV)
The fraction photons lost due to interactions depends on the TAC energy threshold
- it varies between 0.6 % and 0.3 % for beam photons in the range 6 GeV to 12 GeV
(numbers will be updated)
TAC Response in MC simulation
Interactions with
the beamline
material

## Slide 30
Acceptance Comparison: 2017, 2018
2017: Run 30852 - 30853
2018: Runs 41169 - 41171
The difference between acceptance shapes (and normalizations) are on the
level of 5 %
Note, TAC run conditions were different in 2017 and 2018
750 m Be converter

## Slide 31
Acceptance Comparison: 2016, 2018
2016: Run 10852
2018: Runs 41169 - 41171
Relatively good agreement between (on the level of 5 % ) between acceptance
peaks between 2016 and 2017, 2018 data
- the PS magnetic field was lowered from 1.8 to 1.6 T
750 m Be converter

## Slide 32
Comparison with MC Simulation
Relatively good agreement in shape (need more studies)
In TAC runs we measure the product of the target thickness and the PS acceptance
PS acceptance (assuming the nominal target thickness for TAC)
Runs: 30852, 30853
750  Be converter
1 mm collimator
In MC use realistic
beam profile
MC
Data

## Slide 33
Acceptance Implementation

## Slide 34
PS and TAGH Energy Scale
Normalize PS and TAGH
energies at the endpoint
Maximum E difference
about 30 MeV
- checking PS acceptance
- new TAGH counter
positions (after alignment)
TAGH counter
E PS – E TAGH (GeV)
11.4 GeV
Require more time to calibrate energy scale
Run 31056 (amorphous radiator)

## Slide 35
Monitoring Beam Energy with PS
Run 30321
Ebeam = 11.604 GeV
Run 31056
Ebeam = 11.617 GeV
E PS – E TAGH (GeV)
E PS – E TAGH (GeV)
 E = 13 MeV (Alexander table)
 E (PS) = 18.8  1.0 MeV
Study PS sensitivity to the beam
energy using MC