## Slide 1
A. Somov, Jefferson Lab
for the GlueX Collaboration
JLAB  Factory Experiment in Hall D
The 10th International Workshop on Chiral Dynamics 2021
Beijing, China, November 16, 2021

## Slide 2: Outline
GlueX detector in Hall D
Jefferson Lab  Factory (JEF) experiment with the GlueX detector
Physics Program
Upgrade of the GlueX Forward Calorimeter

## Slide 3: GlueX Detector in Hall D
Beam of photons (linear polarization)
Optimized to detect multi-particle final states
Tracks: p / p ~ 2 – 5 %
Photons: E / E ~ 6 % /E  2.0 %
Acceptance: 1 <  < 120

## Slide 4: Experiments with the GlueX detector
GlueX experiment: search for mesons with exotic quantum numbers; a study of meson and baryon decays to strange final states |  |  |  |  | 2016 – present collected 30% of data
A precision measurement of the  radiative decay width via the Primakoff effect (see talk by I. Jaegle) |  | Calorimeter prototype |  | Spring 2019, Fall 2021 (~50 % of data) | 
Measuring the charged pion polarizability (see talk by R. Miskimen) |  |  |  | Scheduled for 2022 | 
Studying short range correlations with real photon beams at GlueX |  |  |  | Taking data | 
Upgrade Forward Calorimeter |  |  |  |  | 
Eta decays with emphasis on rare neutral modes: The JLab Eta Factory experiment (JEF) |  |  |  | 2023 Run in parallel with GlueX | 

## Slide 5: JEF Experiment using GlueX Detector
Upgrade the inner part of the lead glass Forward Calorimeter with high-granularity high-
resolution PbWO4 crystals to improve reconstruction of multi-photon final states
Produce  /   using a beam of tagged photons with the energy between 8.4 - 11.7 GeV
Reconstruct  /   in exclusive reactions:
Run in parallel with other GlueX experiments: collect large data set of  /   mesons
γ+p → η/ηꞌ + p
η/ηꞌ  , 0   , . . .
FCAL 2

## Slide 6: Expected Rate of η/η
 |  | ’
Tagged mesons | 6.5x107 | 4.9x107
JEF for 100 days of beam:
Previous Experiments:
Experiment | Total  | Total ’
CB at AGS | 107 | -
CB MAMI-B | 2x107 | -
CB MAMI-C | 6x107 | 106
WASA-COSY | ~3x107 (p+d), ~5x108 (p+p) | -
KLOE-II | 3x108 | 5x105
BESIII | ~107 | ~5x107
JEF will produce a competitive sample of η/η events
(see also proposed experiment REDTOP, talk by Corrado Gatto)

## Slide 7: Unique Capabilities of JEF
High production rate of  /   mesons
- about 5×107 tagged η per 100 days of beam time
- large data sample compared to existing η(′) experiments, such as
A2-MAMI, WASA-at-COSY, KLOE-II, BES-III
Produce  /   with high boost. Good reconstruction of photons in the
upgraded lead tungstate Forward Calorimeter
- significantly smaller background compared to other low-energy experiments
A2 at MAMI (Eγ = 1.5 GeV)
JEF (E = 9-11.7 GeV)
simulation
Phys.Rev. C90, 025206,2014
η  0 ,  

## Slide 8
JEF Physics Program
Main physics topics:
1. Test of low-energy QCD
2. Search for dark
matter
3. Directly constrain
CVPC new physics
4. Constrain the light
quark mass ratio
Upgrade the Forward Calorimeter

## Slide 9: Impact of   0 measurements on Chiral Perturbation Theory
Unique probe for the high order ChPT:
- contribution from two O(p6) counter-terms in the chiral Lagrangian
L. Ametller, et.al, Phys. Lett., B276, 185 (1992)
ρ, ω
a0, a2
Shape of Dalitz distribution is sensitive to the role of scalar resonances
Study contribution of scalar resonances in calculation of O(p6) low-energy
constants (LEC) in the chiral Lagrangian
A cross-check of LEC's with different processes
C and CP conserving background
C and CP violating
J.N. Ng, et al., Phys. Rev., D46, 5034 (1992)
Higher order LEC’s are dominated by resonances
Gasser, Leutwyler 84; Ecler, Gasser, Pich, de Rafael 1989; Donoghue, Ramirez, Valencia 1989

## Slide 10: Dark Matter Search in  Decays
Vector
leptophobic vector boson B:
,    B B  0  ( 0.14 < mB < 0.62 GeV )
B  +  - 0 ( 0.62 < mB < 1.0 GeV )
dark photon:
,   A   e+ e - 
Scalar
  0 S S   , e+ e - ( mS < 2 m )
,   0 S S   + - ( mS > 2 m )
   S
Light pseudoscalar (axion-like particle)
,  →    ,   e+ e-
Search for dark matter in sub-GeV range:

## Slide 11: Search for B-boson in η decay
B production: A.E. Nelson, N. Tetradis, Phys. Lett., B221, 80 (1989)
B decay: B0 in 140-600 MeV mass range
S. Tulin, Phys.Rev.,D89,
14008 (2014)

## Slide 12: JEF Experimental Reach (  B  0 )
A stringent constraint on the leptophobic
B-boson in
140 - 550 MeV range
100 days of taking data

## Slide 13: Calorimeter Upgrade
Forward Calorimeter
Install an array of 40 x 40 PbWO4 modules in the inner part of the FCAL
(replace lead glass modules)
- 2 cm x 2 cm x 20 cm PbWO4
- 4 cm x 4 cm x 45 cm lead glass
A factor of 4 better detector granularity
- significantly improve shower separation
Improves the energy and position resolution by about a factor of 2
PbWO4 module

## Slide 14: Calorimeter Prototype
Energy resolution
 0.6
Beam test of calorimeter prototype
-12 x 12 modules
- used as a Compton calorimeter
in the PrimEx experiment
in 2019 / 2021
NIM, A 1013 (2021)

## Slide 15: Finalizing Module Design
Magnetic shielding studies
- use soft iron and mu-metal
PMT housing
- use light-guides
Optimize geometry of light guides
(light collection studies)
Optimize design of PMT divider (active base)
Study properties of PbWO crystals, perform quality checks:
- procure from two vendors: SICCAS (China) and CRYTUR (Czech Republic)
- measure dimensions, light transmittance and yield
PMT + LG
Crystal
PMT shield
NIM A 956 (2020) 163375

## Slide 16: Beam Tests of Fabricated PbWO Modules
Fabrication of FCAL2 modules in
progress
Installation in Hall D: 2023
Test fabricated modules using electrons/positrons with known energies
provided by the GlueX Pair Spectrometer
Perform tests in parallel with GlueX data taking
Test up to 12 PbWO modules
Energy resolution of a single module
NIM A 956 (2020) 163375, NIM A 795 (2015)
Pair Spectrometer setup in Hall D

## Slide 17: Summary
The new JEF experiment in Hall D will extend the physics potential of the GlueX detector. The JEF physics program spans from the study of rare decays of  mesons to the dark matter searches in the sub-GeV mass region.
The experiment requires upgrade of the lead glass GlueX forward calorimeter with high-granularity, high-resolution PbWO4 crystals
The new calorimeter will be installed in Hall D in 2023

## Slide 18: Backup Slides

## Slide 19: World competition in η decays
JEF at Jlab
Low energy
-facilities
High energy -facility
CBELSA/TAPS at ELSA
e+e-
Collider
Fixed-target
photoproduction
hadroproduction

## Slide 20: Search for B boson
Dark leptophobic B-boson
Arises from a new gauge baryon symmetry U(1)B
Unified genesis of baryonic and dark matter
the region is strongly constrained by long-range forces search exp. ; the has been investigated by the collider experiments
GeV-scale domain is poorly constrained
discovery opportunity!
Early studies by Lee and Yang, Phys.Rev.,98 (1955) 1501; Okun, Yad.Fiz., 10 (1969) 358,

## Slide 21
Prakhov et al., Phys. Rev. C78, 015206 (2008)
Projections for η→0 Decay
Projected JEF
CB-AGS
A2 at MAMI arXiv:1405.4904, 2014
Constrain contribution of scalar resonances
in the calculation of O(p6) low-energy constants

## Slide 22: C Invariance
Final State | Branching Ratio (upper limit) | Gammas in Final State
3γ | < 1.6•10-5 | 3
π0γ | < 9•10-5 | 
2π0γ | < 5•10-4 | 5
3γπ0 | Nothing published | 
3π0γ | < 6•10-5 | 7
3γ2π0 | Nothing published | 
C Violating η neutral decays
Maximally violated in the weak force
and is well tested
SM prediction:
BR(η→3γ) <10-19 via P-violating
weak interaction.
Study constraints on CVPC from EDM
- no constraints in the presence of a
conspiracy or new symmetry; only
the direct searches are unambiguous
M. Ramsey-Musolf, phys. Rev., D63 (2001);
talk at the AFCI workshop,
studies are in progress
24