## Sheet1
Project: FCAL Detector final fiducial survey |  |  |  | Date: 10/24/23
Coordinate system: Final_FCAL, Pitch (rotX) controlled by known rotational deviation of the interior inset of the lead-tungsten modules, Roll is controlled by the average rotation of the planes of the interior inset of the lead-tungsten modules, Yaw (rotZ) is controlled by a plane created from the upstream edge of the lead-tungsten modules, Origin is defined by the upstream center (X,Y) of the beam tube at the Yaw plane (Z). Positive X is beam left looking downstream, Positive Y is up vertically, Positive Z is downstream. All units in millimeters and degrees. Rotations are clockwise around axes vector.
Component | X | Y | Z
Open Tube center Upstream | 0 | 0 | 89.23
Open Tube center Downstream | 1.72 | -0.12 | 530.74
The following are locations to the center of the brass flanges of the crystals. Measurements were taken of the exterior row/column only. Numbering is from right to left, bottom to top. Z values are projected to best fit plane on brass flange.
Component | X | Y | Z | Component | X | Y | Z
Bottom 1 | -406.8 | -407.05 | 121.1 | Top 1 | -406.29 | 409.27 | 126.5
Bottom 2 | -385.87 | -407.41 | 121.12 | Top 2 | -385.74 | 409.41 | 126.53
Bottom 3 | -365.12 | -407.53 | 121.14 | Top 3 | -364.96 | 409.48 | 126.55
Bottom 4 | -344.17 | -407.84 | 121.16 | Top 4 | -343.87 | 409.09 | 126.57
Bottom 5 | -323.37 | -407.43 | 121.19 | Top 5 | -323.12 | 409.43 | 126.59
Bottom 6 | -302.51 | -407.65 | 121.21 | Top 6 | -302.05 | 409.23 | 126.62
Bottom 7 | -281.52 | -407.75 | 121.23 | Top 7 | -281.3 | 409.18 | 126.64
Bottom 8 | -260.78 | -408.56 | 121.25 | Top 8 | -260.37 | 409.22 | 126.66
Bottom 9 | -239.74 | -407.99 | 121.27 | Top 9 | -239.22 | 409.31 | 126.69
Bottom 10 | -218.97 | -408.02 | 121.3 | Top 10 | -218.55 | 409.61 | 126.71
Bottom 11 | -198.16 | -408.07 | 121.32 | Top 11 | -197.77 | 409.2 | 126.73
Bottom 12 | -177.27 | -408.07 | 121.34 | Top 12 | -176.92 | 409.29 | 126.75
Bottom 13 | -156.38 | -408.16 | 121.36 | Top 13 | -155.95 | 409.58 | 126.78
Bottom 14 | -135.44 | -408.49 | 121.38 | Top 14 | -135.16 | 409.45 | 126.8
Bottom 15 | -114.44 | -408.46 | 121.41 | Top 15 | -114.16 | 409.16 | 126.82
Bottom 16 | -93.75 | -408.18 | 121.43 | Top 16 | -93.34 | 409.21 | 126.84
Bottom 17 | -72.79 | -408.2 | 121.46 | Top 17 | -72.54 | 409.37 | 126.87
Bottom 18 | -51.88 | -408.2 | 121.48 | Top 18 | -51.63 | 408.94 | 126.89
Bottom 19 | -31.23 | -408.18 | 121.5 | Top 19 | -30.82 | 409.34 | 126.91
Bottom 20 | -10.28 | -408.65 | 121.52 | Top 20 | -9.88 | 409.15 | 126.93
Bottom 21 | 10.56 | -408.08 | 121.55 | Top 21 | 11.12 | 409.09 | 126.96
Bottom 22 | 31.56 | -408.64 | 121.57 | Top 22 | 31.99 | 409.13 | 126.98
Bottom 23 | 52.46 | -408.49 | 121.59 | Top 23 | 53.01 | 409.39 | 127
Bottom 24 | 73.4 | -407.68 | 121.62 | Top 24 | 73.63 | 409.12 | 127.03
Bottom 25 | 94.4 | -408.26 | 121.64 | Top 25 | 94.55 | 409.25 | 127.05
Bottom 26 | 114.99 | -408.51 | 121.66 | Top 26 | 115.35 | 409.41 | 127.07
Bottom 27 | 135.91 | -408.4 | 121.68 | Top 27 | 136.17 | 409.14 | 127.09
Bottom 28 | 156.86 | -408.32 | 121.7 | Top 28 | 157.08 | 409.19 | 127.12
Bottom 29 | 177.56 | -408.42 | 121.73 | Top 29 | 178.04 | 409.65 | 127.14
Bottom 30 | 198.49 | -408.16 | 121.75 | Top 30 | 198.99 | 409.32 | 127.16
Bottom 31 | 219.32 | -407.95 | 121.78 | Top 31 | 220.03 | 409.51 | 127.19
Bottom 32 | 240.2 | -408.23 | 121.8 | Top 32 | 240.84 | 409.36 | 127.21
Bottom 33 | 260.86 | -408.47 | 121.82 | Top 33 | 261.47 | 409.57 | 127.23
Bottom 34 | 281.87 | -407.66 | 121.85 | Top 34 | 282.35 | 409.78 | 127.26
Bottom 35 | 302.89 | -408.14 | 121.87 | Top 35 | 303.26 | 409.72 | 127.28
Bottom 36 | 323.82 | -408.41 | 121.89 | Top 36 | 324.06 | 409.71 | 127.3
Bottom 37 | 344.59 | -407.74 | 121.91 | Top 37 | 345.17 | 409.6 | 127.32
Bottom 38 | 365.41 | -408.05 | 121.93 | Top 38 | 366.12 | 409.38 | 127.35
Bottom 39 | 386.24 | -408 | 121.96 | Top 39 | 387.06 | 409.71 | 127.37
Bottom 40 | 407.18 | -408.36 | 121.98 | Top 40 | 407.44 | 409.39 | 127.39
Average | 0.2025 | -408.0965 | 121.5363 | Average | 0.60225 | 409.3585 | 126.947
Component | rotX | rotY | rotZ | Component | rotX | rotY | rotZ
Best Fit Line Bottom | - | -0.06227 | -0.03616 | Best Fit Line Top | - | -0.06264 | 0.01985
Component | X | Y | Z | Component | X | Y | Z
Beam Left 1 (Bottom 40) | 407.18 | -408.36 | 121.98 | Beam Right 1 (Bottom 1) | -406.8 | -407.05 | 121.1
Beam Left 2 | 407.17 | -387.61 | 122.11 | Beam Right 2 | -406.66 | -386.15 | 121.24
Beam Left 3 | 407.39 | -366.33 | 122.26 | Beam Right 3 | -406.94 | -365.3 | 121.37
Beam Left 4 | 407.43 | -345.31 | 122.4 | Beam Right 4 | -406.88 | -343.77 | 121.52
Beam Left 5 | 407.39 | -324.42 | 122.53 | Beam Right 5 | -406.75 | -323.07 | 121.65
Beam Left 6 | 407.3 | -303.43 | 122.67 | Beam Right 6 | -406.9 | -302.22 | 121.79
Beam Left 7 | 407.2 | -282.62 | 122.81 | Beam Right 7 | -407.01 | -281.21 | 121.93
Beam Left 8 | 407.16 | -261.54 | 122.95 | Beam Right 8 | -407.18 | -260.25 | 122.07
Beam Left 9 | 407.21 | -240.57 | 123.09 | Beam Right 9 | -407.06 | -239.24 | 122.21
Beam Left 10 | 406.96 | -219.31 | 123.23 | Beam Right 10 | -407.29 | -218.4 | 122.35
Beam Left 11 | 406.86 | -198.44 | 123.37 | Beam Right 11 | -407.21 | -197.33 | 122.49
Beam Left 12 | 407 | -177.3 | 123.51 | Beam Right 12 | -407.43 | -176.2 | 122.63
Beam Left 13 | 407.01 | -156.76 | 123.64 | Beam Right 13 | -407.32 | -155.29 | 122.76
Beam Left 14 | 406.85 | -135.65 | 123.78 | Beam Right 14 | -407.16 | -134.2 | 122.9
Beam Left 15 | 406.9 | -114.89 | 123.92 | Beam Right 15 | -407.08 | -113.59 | 123.04
Beam Left 16 | 406.94 | -94.13 | 124.06 | Beam Right 16 | -407.24 | -92.68 | 123.18
Beam Left 17 | 407.23 | -73.27 | 124.2 | Beam Right 17 | -406.96 | -71.78 | 123.32
Beam Left 18 | 407.18 | -52.34 | 124.33 | Beam Right 18 | -406.98 | -50.73 | 123.46
Beam Left 19 | 407.2 | -31.12 | 124.47 | Beam Right 19 | -406.89 | -29.92 | 123.59
Beam Left 20 | 407.22 | -10.36 | 124.61 | Beam Right 20 | -407.13 | -8.6 | 123.74
Beam Left 21 | 407.2 | 10.19 | 124.75 | Beam Right 21 | -407.02 | 11.94 | 123.87
Beam Left 22 | 406.71 | 31.14 | 124.89 | Beam Right 22 | -407.01 | 33 | 124.01
Beam Left 23 | 406.75 | 52.02 | 125.02 | Beam Right 23 | -407 | 53.84 | 124.15
Beam Left 24 | 406.91 | 73.34 | 125.17 | Beam Right 24 | -407.18 | 74.84 | 124.29
Beam Left 25 | 406.84 | 94.06 | 125.3 | Beam Right 25 | -407.1 | 95.69 | 124.43
Beam Left 26 | 407.21 | 115.74 | 125.45 | Beam Right 26 | -406.91 | 116.69 | 124.57
Beam Left 27 | 407.23 | 136.74 | 125.59 | Beam Right 27 | -407.04 | 137.32 | 124.7
Beam Left 28 | 407.11 | 157.45 | 125.72 | Beam Right 28 | -407 | 158.08 | 124.84
Beam Left 29 | 407.24 | 178.4 | 125.86 | Beam Right 29 | -406.93 | 179.21 | 124.98
Beam Left 30 | 407.06 | 200.31 | 126.01 | Beam Right 30 | -406.81 | 199.73 | 125.12
Beam Left 31 | 407.02 | 220.96 | 126.14 | Beam Right 31 | -406.93 | 220.92 | 125.26
Beam Left 32 | 407.32 | 241.77 | 126.28 | Beam Right 32 | -406.91 | 241.69 | 125.39
Beam Left 33 | 407.24 | 262.84 | 126.42 | Beam Right 33 | -406.78 | 262.82 | 125.53
Beam Left 34 | 407.03 | 284.07 | 126.56 | Beam Right 34 | -406.57 | 283.44 | 125.67
Beam Left 35 | 407.56 | 304.76 | 126.7 | Beam Right 35 | -406.43 | 304.61 | 125.81
Beam Left 36 | 407.61 | 325.87 | 126.84 | Beam Right 36 | -406.38 | 325.63 | 125.95
Beam Left 37 | 407.66 | 346.49 | 126.98 | Beam Right 37 | -406.24 | 346.38 | 126.09
Beam Left 38 | 407.87 | 367.62 | 127.12 | Beam Right 38 | -406.18 | 367.51 | 126.23
Beam Left 39 | 407.83 | 388.54 | 127.25 | Beam Right 39 | -406.35 | 388.21 | 126.36
Beam Left 40 (Top 40) | 407.44 | 409.39 | 127.39 | Beam Right 40 (Top 1) | -406.29 | 409.27 | 126.5
Average | 407.1905 | 0.4485 | 124.684 | Average | -406.8983 | 1.346 | 123.8023
Component | rotX | rotY | rotZ | Component | rotX | rotY | rotZ
Best Fit Line Left | 0.37931 | - | -0.02205 | Best Fit Line Right | 0.37933 | - | -0.04109
The following are locations to the center of the metal flanges of the lead blocks. Measurements were taken of the interior row/column only. Numbering is from right to left, bottom to top. Z values represent face of block (glass).
Component | X | Y | Z | Component | X | Y | Z
Lead Bottom 1 | -397.71 | -439.85 | 0.95 | Lead Top 1 | -404.67 | 442.03 | -0.84
Lead Bottom 2 | -357.53 | -439.67 | 0.69 | Lead Top 2 | -364.48 | 442.7 | -0.76
Lead Bottom 3 | -317.52 | -439.91 | 0.49 | Lead Top 3 | -324.43 | 442.26 | -0.75
Lead Bottom 4 | -277.51 | -440.35 | 0.52 | Lead Top 4 | -284 | 442.19 | -0.71
Lead Bottom 5 | -237.31 | -440.36 | 0.6 | Lead Top 5 | -244.14 | 442.13 | -0.58
Lead Bottom 6 | -197.22 | -440.18 | 0.74 | Lead Top 6 | -204.07 | 443.07 | -0.52
Lead Bottom 7 | -156.87 | -440.35 | 0.76 | Lead Top 7 | -163.81 | 442.57 | -0.51
Lead Bottom 8 | -116.38 | -440.66 | 0.41 | Lead Top 8 | -123.82 | 442.89 | -0.42
Lead Bottom 9 | -76.31 | -440.61 | 0.33 | Lead Top 9 | -83.35 | 442.78 | -0.47
Lead Bottom 10 | -36.26 | -440.44 | 0.38 | Lead Top 10 | -43.39 | 442.57 | -0.47
Lead Bottom 11 | 3.98 | -440.25 | 0.43 | Lead Top 11 | -3.08 | 441.83 | -0.49
Lead Bottom 12 | 44.02 | -440.21 | 0.37 | Lead Top 12 | 37.27 | 442.52 | -0.45
Lead Bottom 13 | 84.45 | -440.64 | 0.3 | Lead Top 13 | 77.23 | 442.45 | -0.46
Lead Bottom 14 | 124.65 | -440.14 | 0.51 | Lead Top 14 | 117.63 | 442.63 | -0.43
Lead Bottom 15 | 164.51 | -440.09 | 0.33 | Lead Top 15 | 157.46 | 442.98 | -0.34
Lead Bottom 16 | 204.74 | -440.1 | 0.24 | Lead Top 16 | 197.35 | 443.16 | -0.39
Lead Bottom 17 | 244.94 | -440.25 | 0.25 | Lead Top 17 | 237.71 | 443.26 | -0.51
Lead Bottom 18 | 284.79 | -440.21 | 0.25 | Lead Top 18 | 277.57 | 443.37 | -0.51
Lead Bottom 19 | 325.34 | -440.25 | 0.23 | Lead Top 19 | 318.04 | 443.45 | -0.42
Lead Bottom 20 | 365.58 | -440.2 | 0.26 | Lead Top 20 | 358.33 | 443.64 | -0.48
Lead Bottom 21 | 405.57 | -440.41 | 0.28 | Lead Top 21 | 398.42 | 443.22 | -0.48
Average | 3.9024 | -440.2443 | 0.44381 | Average | -3.1538 | 442.7476 | -0.52333
Component | rotX | rotY | rotZ | Component | rotX | rotY | rotZ
Best Fit Line Lead Bottom | - | 0.0382 | -0.01525 | Best Fit Line Lead Top | - | -0.02198 | 0.08465
Component | X | Y | Z | Component | X | Y | Z
Lead Beam Left 1 | 438.5 | -400.21 | 0.8 | Lead Beam Right 1 | -437.85 | -406.42 | 0.89
Lead Beam Left 2 | 438.91 | -360.26 | 1.28 | Lead Beam Right 2 | -438.47 | -366.09 | 1.33
Lead Beam Left 3 | 438.76 | -320.01 | 0.99 | Lead Beam Right 3 | -437.79 | -325.96 | 1.23
Lead Beam Left 4 | 438.67 | -279.97 | 1.54 | Lead Beam Right 4 | -438.35 | -285.91 | 0.79
Lead Beam Left 5 | 438.5 | -239.69 | 1.77 | Lead Beam Right 5 | -438.48 | -245.69 | 1.71
Lead Beam Left 6 | 438.25 | -199.63 | 1.84 | Lead Beam Right 6 | -438.78 | -205.29 | 1.99
Lead Beam Left 7 | 438.07 | -159.29 | 1.76 | Lead Beam Right 7 | -438.87 | -165.28 | 2.26
Lead Beam Left 8 | 438.02 | -118.94 | 1.62 | Lead Beam Right 8 | -438.59 | -124.98 | 2.42
Lead Beam Left 9 | 438.1 | -78.93 | 1.71 | Lead Beam Right 9 | -438.52 | -85.06 | 2.95
Lead Beam Left 10 | 437.83 | -39.1 | 1.38 | Lead Beam Right 10 | -438.63 | -45.04 | 1.77
Lead Beam Left 11 | 437.57 | 1.24 | 1.69 | Lead Beam Right 11 | -438.95 | -4.56 | 1.45
Lead Beam Left 12 | 437.42 | 41.48 | 2.45 | Lead Beam Right 12 | -438.6 | 35.37 | 0.95
Lead Beam Left 13 | 437.42 | 81.5 | 2.23 | Lead Beam Right 13 | -438.95 | 75.56 | 0.45
Lead Beam Left 14 | 437.81 | 121.59 | 1.79 | Lead Beam Right 14 | -438.74 | 115.58 | 0.9
Lead Beam Left 15 | 437.75 | 161.89 | 1.23 | Lead Beam Right 15 | -438.37 | 155.95 | 0.93
Lead Beam Left 16 | 437.55 | 201.91 | 2.09 | Lead Beam Right 16 | -438.35 | 196.24 | 0.85
Lead Beam Left 17 | 437.96 | 242.09 | 1.64 | Lead Beam Right 17 | -438.63 | 236.46 | 1.42
Lead Beam Left 18 | 437.66 | 282.25 | 1.56 | Lead Beam Right 18 | -438.15 | 276.61 | 1.35
Lead Beam Left 19 | 438.43 | 322.46 | 0.15 | Lead Beam Right 19 | -438.37 | 317.02 | -0.13
Lead Beam Left 20 | 438.8 | 362.72 | 0.06 | Lead Beam Right 20 | -438.03 | 358.03 | -0.04
Lead Beam Left 21 | 438.49 | 402.57 | 0.26 | Lead Beam Right 21 | -438.11 | 399.16 | 0.26
Average | 438.1176 | 1.2224 | 1.421 | Average | -438.4562 | -4.4905 | 1.2252
Component | rotX | rotY | rotZ | Component | rotX | rotY | rotZ
Best Fit Line Lead Beam Left | -0.04077 | - | 0.03941 | Best Fit Line Lead Beam Right | -0.09028 | - | -5e-05
Orientation Measurements
Component | rotX | rotY | rotZ
Cooling Plate Bottom Upstream | - | 0.01246 | -0.0198
Cooling Plate Top Upstream | - | -0.042 | 0.02127
Cooling Plate Left Upstream | 0.00603 | - | 0.0837
Cooling Plate Right Upstream | -0.19658 | - | 0.0014
Open Tube Bottom | 0.00502 | - | -0.30963
Open Tube Top | 0.00883 | - | -0.31261
Open Tube Left | - | 0.21497 | -0.26987
Open Tube Right | - | 0.21405 | -0.27529
Open Tube Center | 0.01612 | 0.22369 | -
Lead Inset Bottom Upstream | -0.10864 | - | -0.03506
Lead Inset Top Upstream | 0.45201 | - | 0.05115
Lead Inset Left Upstream | - | 0.11404 | -0.00281
Lead Inset Right Upstream | - | 0.14318 | -0.01378
Upstream Face (Lead) | -0.15106 | 9e-05 | -
Upstream Face (Crystal) | 0.37929 | -0.06251 | -
The following depict orientations of the cooling block (bracket) exterior faces. Numbers are as shown on cooling plate.
Component | rotX | rotY | rotZ
Bottom Center | -0.12156 | - | -0.02489
Bottom Beam Left 26 Btm | -0.10262 | - | -0.07156
Bottom Beam Left 26 Left | - | -0.09283 | -0.05624
Bottom Beam Left 27 Btm | -0.09705 | - | -0.09381
Bottom Beam Left 27 Left | - | -0.08246 | -0.09047
Bottom Beam Left 29 Left | - | -0.36738 | 0.17139
Bottom Beam Right 30 Btm | -0.12479 | - | -0.02908
Bottom Beam Right 30 Right | - | 0.00483 | -0.03918
Bottom Beam Right 29 Btm | -0.11877 | - | -0.04739
Bottom Beam Right 29 Right | - | 0.0021 | -0.0192
Bottom Beam Right 28 Btm | -0.11246 | - | -0.08648
Bottom Beam Right 28 Right | - | -0.00242 | -0.01901
Bottom Beam Right 27 Btm | -0.10584 | - | -0.05052
Bottom Beam Right 27 Right | - | -0.00721 | -0.0394
Top Beam Left 20 Top | 0.00871 | - | -0.24098
Top Beam Left 20 Left | - | 0.0499 | -0.20278
Top Beam Left 19 Top | 0.05435 | - | -0.0962
Top Beam Left 19 Left | - | 0.03603 | -0.09344
Top Beam Left 18 Top | 0.01254 | - | 0.03652
Top Beam Left 18 Left | - | 0.06994 | 0.06773
Top Beam Right 15 Top | 0.10133 | - | -0.47832
Top Beam Right 15 Right | - | 0.01226 | -0.49003
Top Beam Right 14 Top | 0.10071 | - | -0.15786
Top Beam Right 14 Right | - | -0.00527 | -0.17196
Top Beam Right 13 Top | 0.07468 | - | -0.11415
Top Beam Right 13 Right | - | 0.00541 | -0.14572
Top Beam Right 12 Top | 0.18434 | - | -0.12545
Top Beam Right 12 Right | - | 0.01932 | -0.15762
Top Beam Right 11 Top | 0.17171 | - | -0.09083
Relation of ideal location to current frame
Component | X | Y | Z
Final FCAL | -2.45 | -1.6 | 1956.64
| rotX | rotY | rotZ
| -0.01663 | -0.02169 | 0.0248

## Sheet2
Component | X | Y | Z | + 1.5" SMR (Corrected Z)
Lead Bottom 1 | -397.71 | -439.85 | -18.1 | 0.95
Lead Bottom 2 | -357.53 | -439.67 | -18.36 | 0.69
Lead Bottom 3 | -317.52 | -439.91 | -18.56 | 0.49
Lead Bottom 4 | -277.51 | -440.35 | -18.53 | 0.52
Lead Bottom 5 | -237.31 | -440.36 | -18.45 | 0.6
Lead Bottom 6 | -197.22 | -440.18 | -18.31 | 0.74
Lead Bottom 7 | -156.87 | -440.35 | -18.29 | 0.76
Lead Bottom 8 | -116.38 | -440.66 | -18.64 | 0.41
Lead Bottom 9 | -76.31 | -440.61 | -18.72 | 0.33
Lead Bottom 10 | -36.26 | -440.44 | -18.67 | 0.38
Lead Bottom 11 | 3.98 | -440.25 | -18.62 | 0.43
Lead Bottom 12 | 44.02 | -440.21 | -18.68 | 0.37
Lead Bottom 13 | 84.45 | -440.64 | -18.75 | 0.3
Lead Bottom 14 | 124.65 | -440.14 | -18.54 | 0.51
Lead Bottom 15 | 164.51 | -440.09 | -18.72 | 0.33
Lead Bottom 16 | 204.74 | -440.1 | -18.81 | 0.24
Lead Bottom 17 | 244.94 | -440.25 | -18.8 | 0.25
Lead Bottom 18 | 284.79 | -440.21 | -18.8 | 0.25
Lead Bottom 19 | 325.34 | -440.25 | -18.82 | 0.23
Lead Bottom 20 | 365.58 | -440.2 | -18.79 | 0.26
Lead Bottom 21 | 405.57 | -440.41 | -18.77 | 0.28
Component | X | Y | Z | + 1.5" SMR (Corrected Z)
Lead Top 1 | -404.67 | 442.03 | -19.89 | -0.84
Lead Top 2 | -364.48 | 442.7 | -19.81 | -0.76
Lead Top 3 | -324.43 | 442.26 | -19.8 | -0.75
Lead Top 4 | -284 | 442.19 | -19.76 | -0.71
Lead Top 5 | -244.14 | 442.13 | -19.63 | -0.58
Lead Top 6 | -204.07 | 443.07 | -19.57 | -0.52
Lead Top 7 | -163.81 | 442.57 | -19.56 | -0.51
Lead Top 8 | -123.82 | 442.89 | -19.47 | -0.42
Lead Top 9 | -83.35 | 442.78 | -19.52 | -0.47
Lead Top 10 | -43.39 | 442.57 | -19.52 | -0.47
Lead Top 11 | -3.08 | 441.83 | -19.54 | -0.49
Lead Top 12 | 37.27 | 442.52 | -19.5 | -0.45
Lead Top 13 | 77.23 | 442.45 | -19.51 | -0.46
Lead Top 14 | 117.63 | 442.63 | -19.48 | -0.43
Lead Top 15 | 157.46 | 442.98 | -19.39 | -0.34
Lead Top 16 | 197.35 | 443.16 | -19.44 | -0.39
Lead Top 17 | 237.71 | 443.26 | -19.56 | -0.51
Lead Top 18 | 277.57 | 443.37 | -19.56 | -0.51
Lead Top 19 | 318.04 | 443.45 | -19.47 | -0.42
Lead Top 20 | 358.33 | 443.64 | -19.53 | -0.48
Lead Top 21 | 398.42 | 443.22 | -19.53 | -0.48
Component | X | Y | Z | + 1.5" SMR (Corrected Z)
Lead Beam Left 1 | 438.5 | -400.21 | -18.25 | 0.8
Lead Beam Left 2 | 438.91 | -360.26 | -17.77 | 1.28
Lead Beam Left 3 | 438.76 | -320.01 | -18.06 | 0.99
Lead Beam Left 4 | 438.67 | -279.97 | -17.51 | 1.54
Lead Beam Left 5 | 438.5 | -239.69 | -17.28 | 1.77
Lead Beam Left 6 | 438.25 | -199.63 | -17.21 | 1.84
Lead Beam Left 7 | 438.07 | -159.29 | -17.29 | 1.76
Lead Beam Left 8 | 438.02 | -118.94 | -17.43 | 1.62
Lead Beam Left 9 | 438.1 | -78.93 | -17.34 | 1.71
Lead Beam Left 10 | 437.83 | -39.1 | -17.67 | 1.38
Lead Beam Left 11 | 437.57 | 1.24 | -17.36 | 1.69
Lead Beam Left 12 | 437.42 | 41.48 | -16.6 | 2.45
Lead Beam Left 13 | 437.42 | 81.5 | -16.82 | 2.23
Lead Beam Left 14 | 437.81 | 121.59 | -17.26 | 1.79
Lead Beam Left 15 | 437.75 | 161.89 | -17.82 | 1.23
Lead Beam Left 16 | 437.55 | 201.91 | -16.96 | 2.09
Lead Beam Left 17 | 437.96 | 242.09 | -17.41 | 1.64
Lead Beam Left 18 | 437.66 | 282.25 | -17.49 | 1.56
Lead Beam Left 19 | 438.43 | 322.46 | -18.9 | 0.15
Lead Beam Left 20 | 438.8 | 362.72 | -18.99 | 0.06
Lead Beam Left 21 | 438.49 | 402.57 | -18.79 | 0.26
Component | X | Y | Z | + 1.5" SMR (Corrected Z)
Lead Beam Right 1 | -437.85 | -406.42 | -18.16 | 0.89
Lead Beam Right 2 | -438.47 | -366.09 | -17.72 | 1.33
Lead Beam Right 3 | -437.79 | -325.96 | -17.82 | 1.23
Lead Beam Right 4 | -438.35 | -285.91 | -18.26 | 0.79
Lead Beam Right 5 | -438.48 | -245.69 | -17.34 | 1.71
Lead Beam Right 6 | -438.78 | -205.29 | -17.06 | 1.99
Lead Beam Right 7 | -438.87 | -165.28 | -16.79 | 2.26
Lead Beam Right 8 | -438.59 | -124.98 | -16.63 | 2.42
Lead Beam Right 9 | -438.52 | -85.06 | -16.1 | 2.95
Lead Beam Right 10 | -438.63 | -45.04 | -17.28 | 1.77
Lead Beam Right 11 | -438.95 | -4.56 | -17.6 | 1.45
Lead Beam Right 12 | -438.6 | 35.37 | -18.1 | 0.95
Lead Beam Right 13 | -438.95 | 75.56 | -18.6 | 0.45
Lead Beam Right 14 | -438.74 | 115.58 | -18.15 | 0.9
Lead Beam Right 15 | -438.37 | 155.95 | -18.12 | 0.93
Lead Beam Right 16 | -438.35 | 196.24 | -18.2 | 0.85
Lead Beam Right 17 | -438.63 | 236.46 | -17.63 | 1.42
Lead Beam Right 18 | -438.15 | 276.61 | -17.7 | 1.35
Lead Beam Right 19 | -438.37 | 317.02 | -19.18 | -0.13
Lead Beam Right 20 | -438.03 | 358.03 | -19.09 | -0.04
Lead Beam Right 21 | -438.11 | 399.16 | -18.79 | 0.26