## D1-1-TOP
Crate | D1-1-TOP
S/N | TBD
Sub-System | ECAL
Function | fADC250 | 2V
Slot | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Module | CPU |  | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | CTP | SD | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 |  |  | TI
S/N |  |  | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD |  |  | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD
Channel
0 |  |  | ECAL (1,2) | ECAL (1,18) | ECAL (2,15) | ECAL (3,12) | ECAL (4,10) | ECAL (5,9) | ECAL (6,9) | ECAL (7,10) |  |  | ECAL (8,12) | ECAL (9,15) | ECAL (10,19) | ECAL (12,14) | ECAL (14,13) | ECAL (16,16)
1 |  |  | ECAL (1,3) | ECAL (1,19) | ECAL (2,16) | ECAL (3,13) | ECAL (4,11) | ECAL (5,10) | ECAL (6,10) | ECAL (7,11) |  |  | ECAL (8,13) | ECAL (9,16) | ECAL (10,20) | ECAL (12,15) | ECAL (14,14) | ECAL (16,17)
2 |  |  | ECAL (1,4) | ECAL (1,20) | ECAL (2,17) | ECAL (3,14) | ECAL (4,12) | ECAL (5,11) | ECAL (6,11) | ECAL (7,12) |  |  | ECAL (8,14) | ECAL (9,17) | ECAL (11,10) | ECAL (12,16) | ECAL (14,15) | ECAL (16,18)
3 |  |  | ECAL (1,5) | ECAL (2,2) | ECAL (2,18) | ECAL (3,15) | ECAL (4,13) | ECAL (5,12) | ECAL (6,12) | ECAL (7,13) |  |  | ECAL (8,15) | ECAL (9,18) | ECAL (11,11) | ECAL (12,17) | ECAL (14,16) | ECAL (16,19)
4 |  |  | ECAL (1,6) | ECAL (2,3) | ECAL (2,19) | ECAL (3,16) | ECAL (4,14) | ECAL (5,13) | ECAL (6,13) | ECAL (7,14) |  |  | ECAL (8,16) | ECAL (9,19) | ECAL (11,12) | ECAL (12,18) | ECAL (14,17) | ECAL (16,20)
5 |  |  | ECAL (1,7) | ECAL (2,4) | ECAL (2,20) | ECAL (3,17) | ECAL (4,15) | ECAL (5,14) | ECAL (6,14) | ECAL (7,15) |  |  | ECAL (8,17) | ECAL (9,20) | ECAL (11,13) | ECAL (12,19) | ECAL (14,18) | ECAL (17,16)
6 |  |  | ECAL (1,8) | ECAL (2,5) | ECAL (3,2) | ECAL (3,18) | ECAL (4,16) | ECAL (5,15) | ECAL (6,15) | ECAL (7,16) |  |  | ECAL (8,18) | ECAL (10,9) | ECAL (11,14) | ECAL (12,20) | ECAL (14,19) | ECAL (17,17)
7 |  |  | ECAL (1,9) | ECAL (2,6) | ECAL (3,3) | ECAL (3,19) | ECAL (4,17) | ECAL (5,16) | ECAL (6,16) | ECAL (7,17) |  |  | ECAL (8,19) | ECAL (10,10) | ECAL (11,15) | ECAL (13,12) | ECAL (14,20) | ECAL (17,18)
8 |  |  | ECAL (1,10) | ECAL (2,7) | ECAL (3,4) | ECAL (3,20) | ECAL (4,18) | ECAL (5,17) | ECAL (6,17) | ECAL (7,18) |  |  | ECAL (8,20) | ECAL (10,11) | ECAL (11,16) | ECAL (13,13) | ECAL (15,14) | ECAL (17,19)
9 |  |  | ECAL (1,11) | ECAL (2,8) | ECAL (3,5) | ECAL (4,3) | ECAL (4,19) | ECAL (5,18) | ECAL (6,18) | ECAL (7,19) |  |  | ECAL (9,8) | ECAL (10,12) | ECAL (11,17) | ECAL (13,14) | ECAL (15,15) | ECAL (17,20)
10 |  |  | ECAL (1,12) | ECAL (2,9) | ECAL (3,6) | ECAL (4,4) | ECAL (4,20) | ECAL (5,19) | ECAL (6,19) | ECAL (7,20) |  |  | ECAL (9,9) | ECAL (10,13) | ECAL (11,18) | ECAL (13,15) | ECAL (15,16) | ECAL (18,17)
11 |  |  | ECAL (1,13) | ECAL (2,10) | ECAL (3,7) | ECAL (4,5) | ECAL (5,4) | ECAL (5,20) | ECAL (6,20) | ECAL (8,7) |  |  | ECAL (9,10) | ECAL (10,14) | ECAL (11,19) | ECAL (13,16) | ECAL (15,17) | ECAL (18,18)
12 |  |  | ECAL (1,14) | ECAL (2,11) | ECAL (3,8) | ECAL (4,6) | ECAL (5,5) | ECAL (6,5) | ECAL (7,6) | ECAL (8,8) |  |  | ECAL (9,11) | ECAL (10,15) | ECAL (11,20) | ECAL (13,17) | ECAL (15,18) | ECAL (18,19)
13 |  |  | ECAL (1,15) | ECAL (2,12) | ECAL (3,9) | ECAL (4,7) | ECAL (5,6) | ECAL (6,6) | ECAL (7,7) | ECAL (8,9) |  |  | ECAL (9,12) | ECAL (10,16) | ECAL (12,11) | ECAL (13,18) | ECAL (15,19) | ECAL (18,20)
14 |  |  | ECAL (1,16) | ECAL (2,13) | ECAL (3,10) | ECAL (4,8) | ECAL (5,7) | ECAL (6,7) | ECAL (7,8) | ECAL (8,10) |  |  | ECAL (9,13) | ECAL (10,17) | ECAL (12,12) | ECAL (13,19) | ECAL (15,20) | ECAL (19,19)
15 |  |  | ECAL (1,17) | ECAL (2,14) | ECAL (3,11) | ECAL (4,9) | ECAL (5,8) | ECAL (6,8) | ECAL (7,9) | ECAL (8,11) |  |  | ECAL (9,14) | ECAL (10,18) | ECAL (12,13) | ECAL (13,20) | ECAL (16,15) | ECAL (19,20)
Cable Manager | VCM-D1-1-F-A | [10 empty] | VCM-D1-2-F-A
TAB COLOR CODE
fADC250 | fADC125 | F1TDC | DISC | HV | LV/BIAS | CONTROLS | TRIGGER

## D1-1-MID
Crate | D1-1-MID
S/N | TBD
Sub-System | ECAL
Function | fADC250 | 2V
Slot | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Module | CPU |  | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | CTP | SD | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 |  |  | TI
S/N |  |  | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB |  |  | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB
Channel
0 |  |  | ECAL (2,1) | ECAL (4,2) | ECAL (7,3) | ECAL (11,4) | ECAL (16,5) | ECAL (13,7) | ECAL (16,9) | ECAL (2,-1) |  |  | ECAL (4,-2) | ECAL (7,-3) | ECAL (11,-4) | ECAL (16,-5) | ECAL (13,-7) | ECAL (16,-9)
1 |  |  | ECAL (3,1) | ECAL (5,2) | ECAL (8,3) | ECAL (12,4) | ECAL (17,5) | ECAL (14,7) | ECAL (12,10) | ECAL (3,-1) |  |  | ECAL (5,-2) | ECAL (8,-3) | ECAL (12,-4) | ECAL (17,-5) | ECAL (14,-7) | ECAL (12,-10)
2 |  |  | ECAL (4,1) | ECAL (6,2) | ECAL (9,3) | ECAL (13,4) | ECAL (8,6) | ECAL (15,7) | ECAL (13,10) | ECAL (4,-1) |  |  | ECAL (6,-2) | ECAL (9,-3) | ECAL (13,-4) | ECAL (8,-6) | ECAL (15,-7) | ECAL (13,-10)
3 |  |  | ECAL (5,1) | ECAL (7,2) | ECAL (10,3) | ECAL (14,4) | ECAL (9,6) | ECAL (16,7) | ECAL (14,10) | ECAL (5,-1) |  |  | ECAL (7,-2) | ECAL (10,-3) | ECAL (14,-4) | ECAL (9,-6) | ECAL (16,-7) | ECAL (14,-10)
4 |  |  | ECAL (6,1) | ECAL (8,2) | ECAL (11,3) | ECAL (15,4) | ECAL (10,6) | ECAL (10,8) | ECAL (15,10) | ECAL (6,-1) |  |  | ECAL (8,-2) | ECAL (11,-3) | ECAL (15,-4) | ECAL (10,-6) | ECAL (10,-8) | ECAL (15,-10)
5 |  |  | ECAL (7,1) | ECAL (9,2) | ECAL (12,3) | ECAL (16,4) | ECAL (11,6) | ECAL (11,8) | ECAL (16,10) | ECAL (7,-1) |  |  | ECAL (9,-2) | ECAL (12,-3) | ECAL (16,-4) | ECAL (11,-6) | ECAL (11,-8) | ECAL (16,-10)
6 |  |  | ECAL (8,1) | ECAL (10,2) | ECAL (13,3) | ECAL (17,4) | ECAL (12,6) | ECAL (12,8) | ECAL (13,11) | ECAL (8,-1) |  |  | ECAL (10,-2) | ECAL (13,-3) | ECAL (17,-4) | ECAL (12,-6) | ECAL (12,-8) | ECAL (13,-11)
7 |  |  | ECAL (9,1) | ECAL (11,2) | ECAL (14,3) | ECAL (7,5) | ECAL (13,6) | ECAL (13,8) | ECAL (14,11) | ECAL (9,-1) |  |  | ECAL (11,-2) | ECAL (14,-3) | ECAL (7,-5) | ECAL (13,-6) | ECAL (13,-8) | ECAL (14,-11)
8 |  |  | ECAL (10,1) | ECAL (12,2) | ECAL (15,3) | ECAL (8,5) | ECAL (14,6) | ECAL (14,8) | ECAL (15,11) | ECAL (10,-1) |  |  | ECAL (12,-2) | ECAL (15,-3) | ECAL (8,-5) | ECAL (14,-6) | ECAL (14,-8) | ECAL (15,-11)
9 |  |  | ECAL (11,1) | ECAL (13,2) | ECAL (16,3) | ECAL (9,5) | ECAL (15,6) | ECAL (15,8) | ECAL (16,11) | ECAL (11,-1) |  |  | ECAL (13,-2) | ECAL (16,-3) | ECAL (9,-5) | ECAL (15,-6) | ECAL (15,-8) | ECAL (16,-11)
10 |  |  | ECAL (12,1) | ECAL (14,2) | ECAL (17,3) | ECAL (10,5) | ECAL (16,6) | ECAL (16,8) | ECAL (14,12) | ECAL (12,-1) |  |  | ECAL (14,-2) | ECAL (17,-3) | ECAL (10,-5) | ECAL (16,-6) | ECAL (16,-8) | ECAL (14,-12)
11 |  |  | ECAL (13,1) | ECAL (15,2) | ECAL (6,4) | ECAL (11,5) | ECAL (17,6) | ECAL (11,9) | ECAL (15,12) | ECAL (13,-1) |  |  | ECAL (15,-2) | ECAL (6,-4) | ECAL (11,-5) | ECAL (17,-6) | ECAL (11,-9) | ECAL (15,-12)
12 |  |  | ECAL (14,1) | ECAL (16,2) | ECAL (7,4) | ECAL (12,5) | ECAL (9,7) | ECAL (12,9) | ECAL (16,12) | ECAL (14,-1) |  |  | ECAL (16,-2) | ECAL (7,-4) | ECAL (12,-5) | ECAL (9,-7) | ECAL (12,-9) | ECAL (16,-12)
13 |  |  | ECAL (15,1) | ECAL (17,2) | ECAL (8,4) | ECAL (13,5) | ECAL (10,7) | ECAL (13,9) | ECAL (15,13) | ECAL (15,-1) |  |  | ECAL (17,-2) | ECAL (8,-4) | ECAL (13,-5) | ECAL (10,-7) | ECAL (13,-9) | ECAL (15,-13)
14 |  |  | ECAL (16,1) | ECAL (5,3) | ECAL (9,4) | ECAL (14,5) | ECAL (11,7) | ECAL (14,9) | ECAL (16,13) | ECAL (16,-1) |  |  | ECAL (5,-3) | ECAL (9,-4) | ECAL (14,-5) | ECAL (11,-7) | ECAL (14,-9) | ECAL (16,-13)
15 |  |  | ECAL (17,1) | ECAL (6,3) | ECAL (10,4) | ECAL (15,5) | ECAL (12,7) | ECAL (15,9) | ECAL (16,14) | ECAL (17,-1) |  |  | ECAL (6,-3) | ECAL (10,-4) | ECAL (15,-5) | ECAL (12,-7) | ECAL (15,-9) | ECAL (16,-14)
Cable Manager | VCM-D1-1-F-A | [10 empty] | VCM-D1-2-F-A
TAB COLOR CODE
fADC250 | fADC125 | F1TDC | DISC | HV | LV/BIAS | CONTROLS | TRIGGER

## D1-1-BOT
Crate | D1-1-BOT
S/N | TBD
Sub-System | ECAL
Function | fADC250 | 2V
Slot | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Module | CPU |  | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | CTP | SD | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 |  |  | TI
S/N |  |  | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB |  |  | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB | ACDI-TDB
Channel
0 |  |  | ECAL (1,-2) | ECAL (1,-18) | ECAL (2,-15) | ECAL (3,-12) | ECAL (4,-10) | ECAL (5,-9) | ECAL (6,-9) | ECAL (7,-10) |  |  | ECAL (8,-12) | ECAL (9,-15) | ECAL (10,-19) | ECAL (12,-14) | ECAL (14,-13) | ECAL (16,-16)
1 |  |  | ECAL (1,-3) | ECAL (1,-19) | ECAL (2,-16) | ECAL (3,-13) | ECAL (4,-11) | ECAL (5,-10) | ECAL (6,-10) | ECAL (7,-11) |  |  | ECAL (8,-13) | ECAL (9,-16) | ECAL (10,-20) | ECAL (12,-15) | ECAL (14,-14) | ECAL (16,-17)
2 |  |  | ECAL (1,-4) | ECAL (1,-20) | ECAL (2,-17) | ECAL (3,-14) | ECAL (4,-12) | ECAL (5,-11) | ECAL (6,-11) | ECAL (7,-12) |  |  | ECAL (8,-14) | ECAL (9,-17) | ECAL (11,-10) | ECAL (12,-16) | ECAL (14,-15) | ECAL (16,-18)
3 |  |  | ECAL (1,-5) | ECAL (2,-2) | ECAL (2,-18) | ECAL (3,-15) | ECAL (4,-13) | ECAL (5,-12) | ECAL (6,-12) | ECAL (7,-13) |  |  | ECAL (8,-15) | ECAL (9,-18) | ECAL (11,-11) | ECAL (12,-17) | ECAL (14,-16) | ECAL (16,-19)
4 |  |  | ECAL (1,-6) | ECAL (2,-3) | ECAL (2,-19) | ECAL (3,-16) | ECAL (4,-14) | ECAL (5,-13) | ECAL (6,-13) | ECAL (7,-14) |  |  | ECAL (8,-16) | ECAL (9,-19) | ECAL (11,-12) | ECAL (12,-18) | ECAL (14,-17) | ECAL (16,-20)
5 |  |  | ECAL (1,-7) | ECAL (2,-4) | ECAL (2,-20) | ECAL (3,-17) | ECAL (4,-15) | ECAL (5,-14) | ECAL (6,-14) | ECAL (7,-15) |  |  | ECAL (8,-17) | ECAL (9,-20) | ECAL (11,-13) | ECAL (12,-19) | ECAL (14,-18) | ECAL (17,-16)
6 |  |  | ECAL (1,-8) | ECAL (2,-5) | ECAL (3,-2) | ECAL (3,-18) | ECAL (4,-16) | ECAL (5,-15) | ECAL (6,-15) | ECAL (7,-16) |  |  | ECAL (8,-18) | ECAL (10,-9) | ECAL (11,-14) | ECAL (12,-20) | ECAL (14,-19) | ECAL (17,-17)
7 |  |  | ECAL (1,-9) | ECAL (2,-6) | ECAL (3,-3) | ECAL (3,-19) | ECAL (4,-17) | ECAL (5,-16) | ECAL (6,-16) | ECAL (7,-17) |  |  | ECAL (8,-19) | ECAL (10,-10) | ECAL (11,-15) | ECAL (13,-12) | ECAL (14,-20) | ECAL (17,-18)
8 |  |  | ECAL (1,-10) | ECAL (2,-7) | ECAL (3,-4) | ECAL (3,-20) | ECAL (4,-18) | ECAL (5,-17) | ECAL (6,-17) | ECAL (7,-18) |  |  | ECAL (8,-20) | ECAL (10,-11) | ECAL (11,-16) | ECAL (13,-13) | ECAL (15,-14) | ECAL (17,-19)
9 |  |  | ECAL (1,-11) | ECAL (2,-8) | ECAL (3,-5) | ECAL (4,-3) | ECAL (4,-19) | ECAL (5,-18) | ECAL (6,-18) | ECAL (7,-19) |  |  | ECAL (9,-8) | ECAL (10,-12) | ECAL (11,-17) | ECAL (13,-14) | ECAL (15,-15) | ECAL (17,-20)
10 |  |  | ECAL (1,-12) | ECAL (2,-9) | ECAL (3,-6) | ECAL (4,-4) | ECAL (4,-20) | ECAL (5,-19) | ECAL (6,-19) | ECAL (7,-20) |  |  | ECAL (9,-9) | ECAL (10,-13) | ECAL (11,-18) | ECAL (13,-15) | ECAL (15,-16) | ECAL (18,-17)
11 |  |  | ECAL (1,-13) | ECAL (2,-10) | ECAL (3,-7) | ECAL (4,-5) | ECAL (5,-4) | ECAL (5,-20) | ECAL (6,-20) | ECAL (8,-7) |  |  | ECAL (9,-10) | ECAL (10,-14) | ECAL (11,-19) | ECAL (13,-16) | ECAL (15,-17) | ECAL (18,-18)
12 |  |  | ECAL (1,-14) | ECAL (2,-11) | ECAL (3,-8) | ECAL (4,-6) | ECAL (5,-5) | ECAL (6,-5) | ECAL (7,-6) | ECAL (8,-8) |  |  | ECAL (9,-11) | ECAL (10,-15) | ECAL (11,-20) | ECAL (13,-17) | ECAL (15,-18) | ECAL (18,-19)
13 |  |  | ECAL (1,-15) | ECAL (2,-12) | ECAL (3,-9) | ECAL (4,-7) | ECAL (5,-6) | ECAL (6,-6) | ECAL (7,-7) | ECAL (8,-9) |  |  | ECAL (9,-12) | ECAL (10,-16) | ECAL (12,-11) | ECAL (13,-18) | ECAL (15,-19) | ECAL (18,-20)
14 |  |  | ECAL (1,-16) | ECAL (2,-13) | ECAL (3,-10) | ECAL (4,-8) | ECAL (5,-7) | ECAL (6,-7) | ECAL (7,-8) | ECAL (8,-10) |  |  | ECAL (9,-13) | ECAL (10,-17) | ECAL (12,-12) | ECAL (13,-19) | ECAL (15,-20) | ECAL (19,-19)
15 |  |  | ECAL (1,-17) | ECAL (2,-14) | ECAL (3,-11) | ECAL (4,-9) | ECAL (5,-8) | ECAL (6,-8) | ECAL (7,-9) | ECAL (8,-11) |  |  | ECAL (9,-14) | ECAL (10,-18) | ECAL (12,-13) | ECAL (13,-20) | ECAL (16,-15) | ECAL (19,-20)
Cable Manager | VCM-D1-1-F-A | [10 empty] | VCM-D1-2-F-A
TAB COLOR CODE
fADC250 | fADC125 | F1TDC | DISC | HV | LV/BIAS | CONTROLS | TRIGGER

## D1-2-TOP
Crate | D1-2-TOP
S/N | TBD
Sub-System | ECAL
Function | fADC250 | 2V
Slot | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Module | CPU |  | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | CTP | SD | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 |  |  | TI
S/N |  |  | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD |  |  | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD
Channel
0 |  |  | ECAL (-1,2) | ECAL (-1,18) | ECAL (-2,15) | ECAL (-3,12) | ECAL (-4,10) | ECAL (-5,9) | ECAL (-6,9) | ECAL (-7,10) |  |  | ECAL (-8,12) | ECAL (-9,15) | ECAL (-10,19) | ECAL (-12,14) | ECAL (-14,13) | ECAL (-16,16)
1 |  |  | ECAL (-1,3) | ECAL (-1,19) | ECAL (-2,16) | ECAL (-3,13) | ECAL (-4,11) | ECAL (-5,10) | ECAL (-6,10) | ECAL (-7,11) |  |  | ECAL (-8,13) | ECAL (-9,16) | ECAL (-10,20) | ECAL (-12,15) | ECAL (-14,14) | ECAL (-16,17)
2 |  |  | ECAL (-1,4) | ECAL (-1,20) | ECAL (-2,17) | ECAL (-3,14) | ECAL (-4,12) | ECAL (-5,11) | ECAL (-6,11) | ECAL (-7,12) |  |  | ECAL (-8,14) | ECAL (-9,17) | ECAL (-11,10) | ECAL (-12,16) | ECAL (-14,15) | ECAL (-16,18)
3 |  |  | ECAL (-1,5) | ECAL (-2,2) | ECAL (-2,18) | ECAL (-3,15) | ECAL (-4,13) | ECAL (-5,12) | ECAL (-6,12) | ECAL (-7,13) |  |  | ECAL (-8,15) | ECAL (-9,18) | ECAL (-11,11) | ECAL (-12,17) | ECAL (-14,16) | ECAL (-16,19)
4 |  |  | ECAL (-1,6) | ECAL (-2,3) | ECAL (-2,19) | ECAL (-3,16) | ECAL (-4,14) | ECAL (-5,13) | ECAL (-6,13) | ECAL (-7,14) |  |  | ECAL (-8,16) | ECAL (-9,19) | ECAL (-11,12) | ECAL (-12,18) | ECAL (-14,17) | ECAL (-16,20)
5 |  |  | ECAL (-1,7) | ECAL (-2,4) | ECAL (-2,20) | ECAL (-3,17) | ECAL (-4,15) | ECAL (-5,14) | ECAL (-6,14) | ECAL (-7,15) |  |  | ECAL (-8,17) | ECAL (-9,20) | ECAL (-11,13) | ECAL (-12,19) | ECAL (-14,18) | ECAL (-17,16)
6 |  |  | ECAL (-1,8) | ECAL (-2,5) | ECAL (-3,2) | ECAL (-3,18) | ECAL (-4,16) | ECAL (-5,15) | ECAL (-6,15) | ECAL (-7,16) |  |  | ECAL (-8,18) | ECAL (-10,9) | ECAL (-11,14) | ECAL (-12,20) | ECAL (-14,19) | ECAL (-17,17)
7 |  |  | ECAL (-1,9) | ECAL (-2,6) | ECAL (-3,3) | ECAL (-3,19) | ECAL (-4,17) | ECAL (-5,16) | ECAL (-6,16) | ECAL (-7,17) |  |  | ECAL (-8,19) | ECAL (-10,10) | ECAL (-11,15) | ECAL (-13,12) | ECAL (-14,20) | ECAL (-17,18)
8 |  |  | ECAL (-1,10) | ECAL (-2,7) | ECAL (-3,4) | ECAL (-3,20) | ECAL (-4,18) | ECAL (-5,17) | ECAL (-6,17) | ECAL (-7,18) |  |  | ECAL (-8,20) | ECAL (-10,11) | ECAL (-11,16) | ECAL (-13,13) | ECAL (-15,14) | ECAL (-17,19)
9 |  |  | ECAL (-1,11) | ECAL (-2,8) | ECAL (-3,5) | ECAL (-4,3) | ECAL (-4,19) | ECAL (-5,18) | ECAL (-6,18) | ECAL (-7,19) |  |  | ECAL (-9,8) | ECAL (-10,12) | ECAL (-11,17) | ECAL (-13,14) | ECAL (-15,15) | ECAL (-17,20)
10 |  |  | ECAL (-1,12) | ECAL (-2,9) | ECAL (-3,6) | ECAL (-4,4) | ECAL (-4,20) | ECAL (-5,19) | ECAL (-6,19) | ECAL (-7,20) |  |  | ECAL (-9,9) | ECAL (-10,13) | ECAL (-11,18) | ECAL (-13,15) | ECAL (-15,16) | ECAL (-18,17)
11 |  |  | ECAL (-1,13) | ECAL (-2,10) | ECAL (-3,7) | ECAL (-4,5) | ECAL (-5,4) | ECAL (-5,20) | ECAL (-6,20) | ECAL (-8,7) |  |  | ECAL (-9,10) | ECAL (-10,14) | ECAL (-11,19) | ECAL (-13,16) | ECAL (-15,17) | ECAL (-18,18)
12 |  |  | ECAL (-1,14) | ECAL (-2,11) | ECAL (-3,8) | ECAL (-4,6) | ECAL (-5,5) | ECAL (-6,5) | ECAL (-7,6) | ECAL (-8,8) |  |  | ECAL (-9,11) | ECAL (-10,15) | ECAL (-11,20) | ECAL (-13,17) | ECAL (-15,18) | ECAL (-18,19)
13 |  |  | ECAL (-1,15) | ECAL (-2,12) | ECAL (-3,9) | ECAL (-4,7) | ECAL (-5,6) | ECAL (-6,6) | ECAL (-7,7) | ECAL (-8,9) |  |  | ECAL (-9,12) | ECAL (-10,16) | ECAL (-12,11) | ECAL (-13,18) | ECAL (-15,19) | ECAL (-18,20)
14 |  |  | ECAL (-1,16) | ECAL (-2,13) | ECAL (-3,10) | ECAL (-4,8) | ECAL (-5,7) | ECAL (-6,7) | ECAL (-7,8) | ECAL (-8,10) |  |  | ECAL (-9,13) | ECAL (-10,17) | ECAL (-12,12) | ECAL (-13,19) | ECAL (-15,20) | ECAL (-19,19)
15 |  |  | ECAL (-1,17) | ECAL (-2,14) | ECAL (-3,11) | ECAL (-4,9) | ECAL (-5,8) | ECAL (-6,8) | ECAL (-7,9) | ECAL (-8,11) |  |  | ECAL (-9,14) | ECAL (-10,18) | ECAL (-12,13) | ECAL (-13,20) | ECAL (-16,15) | ECAL (-19,20)
Cable Manager | VCM-D1-2-F-A | [10 empty] | VCM-D1-3-F-A
TAB COLOR CODE
fADC250 | fADC125 | F1TDC | DISC | HV | LV/BIAS | CONTROLS | TRIGGER

## D1-2_MID
Crate | D1-2-MID
S/N | TBD
Sub-System | ECAL
Function | fADC250 | 2V
Slot | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Module | CPU |  | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | CTP | SD | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 |  |  | TI
S/N |  |  | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD |  |  | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD
Channel
0 |  |  | ECAL (-2,1) | ECAL (-4,2) | ECAL (-7,3) | ECAL (-11,4) | ECAL (-16,5) | ECAL (-13,7) | ECAL (-16,9) | ECAL (-2,-1) |  |  | ECAL (-4,-2) | ECAL (-7,-3) | ECAL (-11,-4) | ECAL (-16,-5) | ECAL (-13,-7) | ECAL (-16,-9)
1 |  |  | ECAL (-3,1) | ECAL (-5,2) | ECAL (-8,3) | ECAL (-12,4) | ECAL (-17,5) | ECAL (-14,7) | ECAL (-12,10) | ECAL (-3,-1) |  |  | ECAL (-5,-2) | ECAL (-8,-3) | ECAL (-12,-4) | ECAL (-17,-5) | ECAL (-14,-7) | ECAL (-12,-10)
2 |  |  | ECAL (-4,1) | ECAL (-6,2) | ECAL (-9,3) | ECAL (-13,4) | ECAL (-8,6) | ECAL (-15,7) | ECAL (-13,10) | ECAL (-4,-1) |  |  | ECAL (-6,-2) | ECAL (-9,-3) | ECAL (-13,-4) | ECAL (-8,-6) | ECAL (-15,-7) | ECAL (-13,-10)
3 |  |  | ECAL (-5,1) | ECAL (-7,2) | ECAL (-10,3) | ECAL (-14,4) | ECAL (-9,6) | ECAL (-16,7) | ECAL (-14,10) | ECAL (-5,-1) |  |  | ECAL (-7,-2) | ECAL (-10,-3) | ECAL (-14,-4) | ECAL (-9,-6) | ECAL (-16,-7) | ECAL (-14,-10)
4 |  |  | ECAL (-6,1) | ECAL (-8,2) | ECAL (-11,3) | ECAL (-15,4) | ECAL (-10,6) | ECAL (-10,8) | ECAL (-15,10) | ECAL (-6,-1) |  |  | ECAL (-8,-2) | ECAL (-11,-3) | ECAL (-15,-4) | ECAL (-10,-6) | ECAL (-10,-8) | ECAL (-15,-10)
5 |  |  | ECAL (-7,1) | ECAL (-9,2) | ECAL (-12,3) | ECAL (-16,4) | ECAL (-11,6) | ECAL (-11,8) | ECAL (-16,10) | ECAL (-7,-1) |  |  | ECAL (-9,-2) | ECAL (-12,-3) | ECAL (-16,-4) | ECAL (-11,-6) | ECAL (-11,-8) | ECAL (-16,-10)
6 |  |  | ECAL (-8,1) | ECAL (-10,2) | ECAL (-13,3) | ECAL (-17,4) | ECAL (-12,6) | ECAL (-12,8) | ECAL (-13,11) | ECAL (-8,-1) |  |  | ECAL (-10,-2) | ECAL (-13,-3) | ECAL (-17,-4) | ECAL (-12,-6) | ECAL (-12,-8) | ECAL (-13,-11)
7 |  |  | ECAL (-9,1) | ECAL (-11,2) | ECAL (-14,3) | ECAL (-7,5) | ECAL (-13,6) | ECAL (-13,8) | ECAL (-14,11) | ECAL (-9,-1) |  |  | ECAL (-11,-2) | ECAL (-14,-3) | ECAL (-7,-5) | ECAL (-13,-6) | ECAL (-13,-8) | ECAL (-14,-11)
8 |  |  | ECAL (-10,1) | ECAL (-12,2) | ECAL (-15,3) | ECAL (-8,5) | ECAL (-14,6) | ECAL (-14,8) | ECAL (-15,11) | ECAL (-10,-1) |  |  | ECAL (-12,-2) | ECAL (-15,-3) | ECAL (-8,-5) | ECAL (-14,-6) | ECAL (-14,-8) | ECAL (-15,-11)
9 |  |  | ECAL (-11,1) | ECAL (-13,2) | ECAL (-16,3) | ECAL (-9,5) | ECAL (-15,6) | ECAL (-15,8) | ECAL (-16,11) | ECAL (-11,-1) |  |  | ECAL (-13,-2) | ECAL (-16,-3) | ECAL (-9,-5) | ECAL (-15,-6) | ECAL (-15,-8) | ECAL (-16,-11)
10 |  |  | ECAL (-12,1) | ECAL (-14,2) | ECAL (-17,3) | ECAL (-10,5) | ECAL (-16,6) | ECAL (-16,8) | ECAL (-14,12) | ECAL (-12,-1) |  |  | ECAL (-14,-2) | ECAL (-17,-3) | ECAL (-10,-5) | ECAL (-16,-6) | ECAL (-16,-8) | ECAL (-14,-12)
11 |  |  | ECAL (-13,1) | ECAL (-15,2) | ECAL (-6,4) | ECAL (-11,5) | ECAL (-17,6) | ECAL (-11,9) | ECAL (-15,12) | ECAL (-13,-1) |  |  | ECAL (-15,-2) | ECAL (-6,-4) | ECAL (-11,-5) | ECAL (-17,-6) | ECAL (-11,-9) | ECAL (-15,-12)
12 |  |  | ECAL (=14,1) | ECAL (-16,2) | ECAL (-7,4) | ECAL (-12,5) | ECAL (-9,7) | ECAL (-12,9) | ECAL (-16,12) | ECAL (-14,-1) |  |  | ECAL (-16,-2) | ECAL (-7,-4) | ECAL (-12,-5) | ECAL (-9,-7) | ECAL (-12,-9) | ECAL (-16,-12)
13 |  |  | ECAL (=15,1) | ECAL (-17,2) | ECAL (-8,4) | ECAL (-13,5) | ECAL (-10,7) | ECAL (-13,9) | ECAL (-15,13) | ECAL (-15,-1) |  |  | ECAL (-17,-2) | ECAL (-8,-4) | ECAL (-13,-5) | ECAL (-10,-7) | ECAL (-13,-9) | ECAL (-15,-13)
14 |  |  | ECAL (-16,1) | ECAL (-5,3) | ECAL (-9,4) | ECAL (-14,5) | ECAL (-11,7) | ECAL (-14,9) | ECAL (-16,13) | ECAL (-16,-1) |  |  | ECAL (-5,-3) | ECAL (-9,-4) | ECAL (-14,-5) | ECAL (-11,-7) | ECAL (-14,-9) | ECAL (-16,-13)
15 |  |  | ECAL (-17,1) | ECAL (-6,3) | ECAL (-10,4) | ECAL (-15,5) | ECAL (-12,7) | ECAL (-15,9) | ECAL (-16,14) | ECAL (-17,-1) |  |  | ECAL (-6,-3) | ECAL (-10,-4) | ECAL (-15,-5) | ECAL (-12,-7) | ECAL (-15,-9) | ECAL (-16,-14)
Cable Manager | VCM-D1-2-F-A | [10 empty] | VCM-D1-3-F-A
TAB COLOR CODE
fADC250 | fADC125 | F1TDC | DISC | HV | LV/BIAS | CONTROLS | TRIGGER

## D1-2-BOT
Crate | D1-2-BOT
S/N | TBD
Sub-System | ECAL
Function | fADC250 | 2V
Slot | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Module | CPU |  | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | CTP | SD | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 |  |  | TI
S/N |  |  | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD |  |  | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD
Channel
0 |  |  | ECAL (-1,-2) | ECAL (-1,-18) | ECAL (-2,-15) | ECAL (-3,-12) | ECAL (-4,-10) | ECAL (-5,-9) | ECAL (-6,-9) | ECAL (-7,-10) |  |  | ECAL (-8,-12) | ECAL (-9,-15) | ECAL (-10,-19) | ECAL (-12,-14) | ECAL (-14,-13) | ECAL (-16,-16)
1 |  |  | ECAL (-1,-3) | ECAL (-1,-19) | ECAL (-2,-16) | ECAL (-3,-13) | ECAL (-4,-11) | ECAL (-5,-10) | ECAL (-6,-10) | ECAL (-7,-11) |  |  | ECAL (-8,-13) | ECAL (-9,-16) | ECAL (-10,-20) | ECAL (-12,-15) | ECAL (-14,-14) | ECAL (-16,-17)
2 |  |  | ECAL (-1,-4) | ECAL (-1,-20) | ECAL (-2,-17) | ECAL (-3,-14) | ECAL (-4,-12) | ECAL (-5,-11) | ECAL (-6,-11) | ECAL (-7,-12) |  |  | ECAL (-8,-14) | ECAL (-9,-17) | ECAL (-11,-10) | ECAL (-12,-16) | ECAL (-14,-15) | ECAL (-16,-18)
3 |  |  | ECAL (-1,-5) | ECAL (-2,-2) | ECAL (-2,-18) | ECAL (-3,-15) | ECAL (-4,-13) | ECAL (-5,-12) | ECAL (-6,-12) | ECAL (-7,-13) |  |  | ECAL (-8,-15) | ECAL (-9,-18) | ECAL (-11,-11) | ECAL (-12,-17) | ECAL (-14,-16) | ECAL (-16,-19)
4 |  |  | ECAL (-1,-6) | ECAL (-2,-3) | ECAL (-2,-19) | ECAL (-3,-16) | ECAL (-4,-14) | ECAL (-5,-13) | ECAL (-6,-13) | ECAL (-7,-14) |  |  | ECAL (-8,-16) | ECAL (-9,-19) | ECAL (-11,-12) | ECAL (-12,-18) | ECAL (-14,-17) | ECAL (-16,-20)
5 |  |  | ECAL (-1,-7) | ECAL (-2,-4) | ECAL (-2,-20) | ECAL (-3,-17) | ECAL (-4,-15) | ECAL (-5,-14) | ECAL (-6,-14) | ECAL (-7,-15) |  |  | ECAL (-8,-17) | ECAL (-9,-20) | ECAL (-11,-13) | ECAL (-12,-19) | ECAL (-14,-18) | ECAL (-17,-16)
6 |  |  | ECAL (-1,-8) | ECAL (-2,-5) | ECAL (-3,-2) | ECAL (-3,-18) | ECAL (-4,-16) | ECAL (-5,-15) | ECAL (-6,-15) | ECAL (-7,-16) |  |  | ECAL (-8,-18) | ECAL (-10,-9) | ECAL (-11,-14) | ECAL (-12,-20) | ECAL (-14,-19) | ECAL (-17,-17)
7 |  |  | ECAL (-1,-9) | ECAL (-2,-6) | ECAL (-3,-3) | ECAL (-3,-19) | ECAL (-4,-17) | ECAL (-5,-16) | ECAL (-6,-16) | ECAL (-7,-17) |  |  | ECAL (-8,-19) | ECAL (-10,-10) | ECAL (-11,-15) | ECAL (-13,-12) | ECAL (-14,-20) | ECAL (-17,-18)
8 |  |  | ECAL (-1,-10) | ECAL (-2,-7) | ECAL (-3,-4) | ECAL (-3,-20) | ECAL (-4,-18) | ECAL (-5,-17) | ECAL (-6,-17) | ECAL (-7,-18) |  |  | ECAL (-8,-20) | ECAL (-10,-11) | ECAL (-11,-16) | ECAL (-13,-13) | ECAL (-15,-14) | ECAL (-17,-19)
9 |  |  | ECAL (-1,-11) | ECAL (-2,-8) | ECAL (-3,-5) | ECAL (-4,-3) | ECAL (-4,-19) | ECAL (-5,-18) | ECAL (-6,-18) | ECAL (-7,-19) |  |  | ECAL (-9,-8) | ECAL (-10,-12) | ECAL (-11,-17) | ECAL (-13,-14) | ECAL (-15,-15) | ECAL (-17,-20)
10 |  |  | ECAL (-1,-12) | ECAL (-2,-9) | ECAL (-3,-6) | ECAL (-4,-4) | ECAL (-4,-20) | ECAL (-5,-19) | ECAL (-6,-19) | ECAL (-7,-20) |  |  | ECAL (-9,-9) | ECAL (-10,-13) | ECAL (-11,-18) | ECAL (-13,-15) | ECAL (-15,-16) | ECAL (-18,-17)
11 |  |  | ECAL (-1,-13) | ECAL (-2,-10) | ECAL (-3,-7) | ECAL (-4,-5) | ECAL (-5,-4) | ECAL (-5,-20) | ECAL (-6,-20) | ECAL (-8,-7) |  |  | ECAL (-9,-10) | ECAL (-10,-14) | ECAL (-11,-19) | ECAL (-13,-16) | ECAL (-15,-17) | ECAL (-18,-18)
12 |  |  | ECAL (-1,-14) | ECAL (-2,-11) | ECAL (-3,-8) | ECAL (-4,-6) | ECAL (-5,-5) | ECAL (-6,-5) | ECAL (-7,-6) | ECAL (-8,-8) |  |  | ECAL (-9,-11) | ECAL (-10,-15) | ECAL (-11,-20) | ECAL (-13,-17) | ECAL (-15,-18) | ECAL (-18,-19)
13 |  |  | ECAL (-1,-15) | ECAL (-2,-12) | ECAL (-3,-9) | ECAL (-4,-7) | ECAL (-5,-6) | ECAL (-6,-6) | ECAL (-7,-7) | ECAL (-8,-9) |  |  | ECAL (-9,-12) | ECAL (-10,-16) | ECAL (-12,-11) | ECAL (-13,-18) | ECAL (-15,-19) | ECAL (-18,-20)
14 |  |  | ECAL (-1,-16) | ECAL (-2,-13) | ECAL (-3,-10) | ECAL (-4,-8) | ECAL (-5,-7) | ECAL (-6,-7) | ECAL (-7,-8) | ECAL (-8,-10) |  |  | ECAL (-9,-13) | ECAL (-10,-17) | ECAL (-12,-12) | ECAL (-13,-19) | ECAL (-15,-20) | ECAL (-19,-19)
15 |  |  | ECAL (-1,-17) | ECAL (-2,-14) | ECAL (-3,-11) | ECAL (-4,-9) | ECAL (-5,-8) | ECAL (-6,-8) | ECAL (-7,-9) | ECAL (-8,-11) |  |  | ECAL (-9,-14) | ECAL (-10,-18) | ECAL (-12,-13) | ECAL (-13,-20) | ECAL (-16,-15) | ECAL (-19,-20)
Cable Manager | VCM-D1-2-F-A | [10 empty] | VCM-D1-3-F-A
TAB COLOR CODE
fADC250 | fADC125 | F1TDC | DISC | HV | LV/BIAS | CONTROLS | TRIGGER

## D1-3-TOP
Crate | D1-3-TOP
S/N | TBD
Sub-System | ECAL
Function | fADC250 | 2V
Slot | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Module | CPU |  | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | CTP | SD | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | fADC250 | TI
S/N |  |  | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD |  |  | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD | ACDI-TBD
Channel
0 |  |  | ECAL (17,-15) | ECAL (18,-9) | ECAL (19,-11) | ECAL (20,-15) | ECAL (-17,-15) | ECAL (-18,-9) | ECAL (-19,-11) | ECAL (-20,-15) |  |  | ECAL (17,15) | ECAL (18,9) | ECAL (19,11) | ECAL (20,15) | ECAL (-17,15) | ECAL (-18,9) | ECAL (-19,11) | ECAL (-20,15)
1 |  |  | ECAL (17,-14) | ECAL (18,-8) | ECAL (19,-10) | ECAL (20,-14) | ECAL (-17,-14) | ECAL (-18,-8) | ECAL (-19,-10) | ECAL (-20,-14) |  |  | ECAL (17,14) | ECAL (18,8) | ECAL (19,10) | ECAL (20,14) | ECAL (-17,14) | ECAL (-18,8) | ECAL (-19,10) | ECAL (-20,14)
2 |  |  | ECAL (17,-13) | ECAL (18,-7) | ECAL (19,-9) | ECAL (20,-13) | ECAL (-17,-13) | ECAL (-18,-7) | ECAL (-19,-9) | ECAL (-20,-13) |  |  | ECAL (17,13) | ECAL (18,7) | ECAL (19,9) | ECAL (20,13) | ECAL (-17,13) | ECAL (-18,7) | ECAL (-19,9) | ECAL (-20,13)
3 |  |  | ECAL (17,-12) | ECAL (18,-6) | ECAL (19,-8) | ECAL (20,-12) | ECAL (-17,-12) | ECAL (-18,-6) | ECAL (-19,-8) | ECAL (-20,-12) |  |  | ECAL (17,12) | ECAL (18,6) | ECAL (19,8) | ECAL (20,12) | ECAL (-17,12) | ECAL (-18,6) | ECAL (-19,8) | ECAL (-20,12)
4 |  |  | ECAL (17,-11) | ECAL (18,-5) | ECAL (19,-7) | ECAL (20,-11) | ECAL (-17,-11) | ECAL (-18,-5) | ECAL (-19,-7) | ECAL (-20,-11) |  |  | ECAL (17,11) | ECAL (18,5) | ECAL (19,7) | ECAL (20,11) | ECAL (-17,11) | ECAL (-18,5) | ECAL (-19,7) | ECAL (-20,11)
5 |  |  | ECAL (17,-10) | ECAL (18,-4) | ECAL (19,-6) | ECAL (20,-10) | ECAL (-17,-10) | ECAL (-18,-4) | ECAL (-19,-6) | ECAL (-20,-10) |  |  | ECAL (17,10) | ECAL (18,4) | ECAL (19,6) | ECAL (20,10) | ECAL (-17,10) | ECAL (-18,4) | ECAL (-19,6) | ECAL (-20,10)
6 |  |  | ECAL (17,-9) | ECAL (18,-3) | ECAL (19,-5) | ECAL (20,-9) | ECAL (-17,-9) | ECAL (-18,-3) | ECAL (-19,-5) | ECAL (-20,-9) |  |  | ECAL (17,9) | ECAL (18,3) | ECAL (19,5) | ECAL (20,9) | ECAL (-17,9) | ECAL (-18,3) | ECAL (-19,5) | ECAL (-20,9)
7 |  |  | ECAL (17,-8) | ECAL (18,-2) | ECAL (19,-4) | ECAL (20,-8) | ECAL (-17,-8) | ECAL (-18,-2) | ECAL (-19,-4) | ECAL (-20,-8) |  |  | ECAL (17,8) | ECAL (18,2) | ECAL (19,4) | ECAL (20,8) | ECAL (-17,8) | ECAL (-18,2) | ECAL (-19,4) | ECAL (-20,8)
8 |  |  | ECAL (17,-7) | ECAL (18,-1) | ECAL (19,-3) | ECAL (20,-7) | ECAL (-17,-7) | ECAL (-18,-1) | ECAL (-19,-3) | ECAL (-20,-7) |  |  | ECAL (17,7) | ECAL (18,1) | ECAL (19,3) | ECAL (20,7) | ECAL (-17,7) | ECAL (-18,1) | ECAL (-19,3) | ECAL (-20,7)
9 |  |  | ECAL (18,-16) | ECAL (19,-18) | ECAL (19,-2) | ECAL (20,-6) | ECAL (-18,-16) | ECAL (-19,-18) | ECAL (-19,-2) | ECAL (-20,-6) |  |  | ECAL (18,16) | ECAL (19,18) | ECAL (19,2) | ECAL (20,6) | ECAL (-18,16) | ECAL (-19,18) | ECAL (-19,2) | ECAL (-20,6)
10 |  |  | ECAL (18,-15) | ECAL (19,-17) | ECAL (19,-1) | ECAL (20,-5) | ECAL (-18,-15) | ECAL (-19,-17) | ECAL (-19,-1) | ECAL (-20,-5) |  |  | ECAL (18,15) | ECAL (19,17) | ECAL (19,1) | ECAL (20,5) | ECAL (-18,15) | ECAL (-19,17) | ECAL (-19,1) | ECAL (-20,5)
11 |  |  | ECAL (18,-14) | ECAL (19,-16) | ECAL (20,-20) | ECAL (20,-4) | ECAL (-18,-14) | ECAL (-19,-16) | ECAL (-20,-20) | ECAL (-20,-4) |  |  | ECAL (18,14) | ECAL (19,16) | ECAL (20,20) | ECAL (20,4) | ECAL (-18,14) | ECAL (-19,16) | ECAL (-20,20) | ECAL (-20,4)
12 |  |  | ECAL (18,-13) | ECAL (19,-15) | ECAL (20,-19) | ECAL (20,-3) | ECAL (-18,-13) | ECAL (-19,-15) | ECAL (-20,-19) | ECAL (-20,-3) |  |  | ECAL (18,13) | ECAL (19,15) | ECAL (20,19) | ECAL (20,3) | ECAL (-18,13) | ECAL (-19,15) | ECAL (-20,19) | ECAL (-20,3)
13 |  |  | ECAL (18,-12) | ECAL (19,-14) | ECAL (20,-18) | ECAL (20,-2) | ECAL (-18,-12) | ECAL (-19,-14) | ECAL (-20,-18) | ECAL (-20,-2) |  |  | ECAL (18,12) | ECAL (19,14) | ECAL (20,18) | ECAL (20,2) | ECAL (-18,12) | ECAL (-19,14) | ECAL (-20,18) | ECAL (-20,2)
14 |  |  | ECAL (18,-11) | ECAL (19,-13) | ECAL (20,-17) | ECAL (20,-1) | ECAL (-18,-11) | ECAL (-19,-13) | ECAL (-20,-17) | ECAL (-20,-1) |  |  | ECAL (18,11) | ECAL (19,13) | ECAL (20,17) | ECAL (20,1) | ECAL (-18,11) | ECAL (-19,13) | ECAL (-20,17) | ECAL (-20,1)
15 |  |  | ECAL (18,-10) | ECAL (19,-12) | ECAL (20,-16) | SPARE | ECAL (-18,-10) | ECAL (-19,-12) | ECAL (-20,-16) | SPARE |  |  | ECAL (18,10) | ECAL (19,12) | ECAL (20,16) | SPARE | ECAL (-18,10) | ECAL (-19,12) | ECAL (-20,16) | SPARE
Cable Manager | VCM-D1-3-F-A | [10 empty] | VCM-D1-4-F-A
TAB COLOR CODE
fADC250 | fADC125 | F1TDC | DISC | HV | LV/BIAS | CONTROLS | TRIGGER