Checklist for Quality Assessment of Modules

- Inspect joints (look for rust or failure of a joint)

- Check for uniform gap at joint (look for loose screws)

- Check gap between tensioning plate and flange (to confirm if the silicone cookie is there)

| Good | Bad Example where silicone cookie is missing: |
| --- | --- |

- Check orientation of the PMT and labels/numbers

| Good | Bad |
| --- | --- |

- Ensure that the front flange is centered

- Check crystal (look for any indication of chips/cracks)

| Good | Bad |
| --- | --- |

- Clean straps with alcohol

- Add Kapton tape (wrap around, but DO NOT OVERLAP the tape)

- Ensure there are no bumps/wrinkles/overlaps of tape on Tevlar

| Good | Bad |
| --- | --- |