## Sheet1
PS converter (when used): 750 mm Be
Check HV settings on 9 modules
Ebeam = 8.94, 2x10-5, 1.5 nA, PS magnet current 275 A, Empty target
52543 | (-4, 6) |  |  | hd_all.tsg_ccal_tagger_tac
52544 | (-2, 6) |  |  | CCAL_TAGGER_TAC_m9
52545 | (-6, 5)
52547 | (-4, 4)
52548 | (5, 4)
52549 | (4, -2)
52550 | (5, -5)
52551 | (-2, -6)
52552 | (-6, -4)
Production in RAW mode (mode 10, unsparsified data)
Ebeam = 8.94, 2x10-5, 1.5 nA, PS magnet current 275 A, Empty target
CELL (-4,-4)
52559 | 1.6 M | DAQ not completely tuned, L.T. 95 % |  | hd_all.tsg_ccal_tagger_ps_tac
52560 | 2.9 M |  |  | CCAL_TAGGER_PS_TAC_m10
52561 | 2.2 M
Rate Scan, Nominal HV, production mode
3x10-4, LH2
| Current | Max rate | LED
|  | per module | rate
52563 | 250 nA | 400 kHz | 10 Hz | hd_all.tsg_ccal_prod
52564 | 350 nA | 560 kHz | 10 Hz | CCAL_FCAL_PS_m9
52565 | 450 nA | 720 kHz | 10 Hz
52567 | 550 nA | 880 kHz | 100 Hz
52568 | 650 nA | 1000 kHz | 100 Hz
52569 | 150 nA | 250 kHz | 200 Hz
52570 | 50 nA | 80 kHz | 200 Hz
52571 | 550 nA | 880 kHz | 200 Hz
52572 | 450 nA | 720 kHz | 200 Hz
52573 | 350 nA | 560 kHz | 200 Hz
52574 | 250 nA | 400 kHz | 200 Hz
Some previous runs (10-4 radiator)
52193 | 350 nA
52194 | 200 nA
52195 | 100 nA
52196 | no beam
Rate Scan, Nominal HV, cell (4, 4) in beam
Ebeam = 8.94, 2x10-5, 1.5 nA + , PS magnet current 275 A, Empty target
52578 | 160 kHz | Read THR = 108 ADC counts |  | hd_all.tsg_ccal_tagger_ps_tac
52579 | 300 kHz | TRIG THR = 110 ADC counts |  | CCAL_TAGGER_PS_TAC_m10
52580 | 500 kHz
52581 | 500 kHz
52582 | 600 kHz
52583 | 780 kHz
52584 | 1200 kHz
52585 | 700 kHz | prescale main trigger
52586 | 850 kHz
52587 | 1200 kHz
52588 | 600 kHz
52589 | 500 kHz | unstable current
52590 | 500 kHz
52591 | 400 kHz
52592 | 275 kHz
52593 | 160 kHz
52595 | No beam
Production in RAW mode (mode 10, unsparsified data), TAC runs
Ebeam = 8.94, 2x10-5, 1.5 nA, PS magnet current 275 A, Empty target
CELL (4,4)
52633 | 3 M |  |  | hd_all.tsg_ccal_tagger_ps
52635 | 11.9 M |  |  | CCAL_TAGGER_PS_m10
Restore PS field (magnet current 682.5 A )
CELL (4, -1)
52636 | 15.2 M
52637 | 7.5 M
PS magnet current 682.5 A
CELL (4, -4)
52638 | 5.2 M
52639 | 16.8 M
52640 | 8.3 M
52641 | 9.2 M
52642 | 1.8 M
2 V FADC range on 5x5 modules around cell (4, 4)
Increase HVs by 50 V
Ebeam = 8.94, 2x10-5, 1.5 nA, PS magnet current 682.5 A, Empty target
52646 | (4, 4) |  |  | hd_all.tsg_ccal_tagger_tac
52647 | (3, 4) |  |  | CCAL_TAGGER_TAC_m9
52648 | (3, 4)
52649 | (5, 4)
52650 | (6, 4)
52651 | (6, 3)
52652 | (5, 3)
52653 | (4, 3)
52654 | (3, 3)
52655 | (2, 3)
52656 | (2, 2) | Shutter
52657 | (3, 2)
52658 | (4, 2)
52659 | (5, 2)
52660 | (6, 2)
52661 | (6, 5)
52662 | (5, 5)
52663 | (4, 5)
52664 | (3, 5)
52665 | (2, 5)
52666 | (2, 6)
52667 | (3, 6)
52668 | (4, 6)
52669 | (5, 6)
52670 | (6, 6)
Production in RAW mode (mode 10, unsparsified data), 2 V FADC Range
Ebeam = 8.94, 2x10-5, 1.5 nA, 750 mm, PS magnet current 682.5 A, Empty target
CELL (4, 4)
52672 | 3.1 M |  |  | hd_all.tsg_ccal_tagger_ps
52673 | 18.6 M |  |  | CCAL_TAGGER_PS_TAC_m10
Rate Scan, 2 V FADC Range, cell (4, 4) in beam
Ebeam = 8.94 GeV , 2x10-5, 1.5 nA + , PS magnet current 682.5 A, Empty target
CELL (4, 4)
52674 | 100 kHz |  |  | hd_all.tsg_ccal_tagger_ps
52675 | 150 kHz |  |  | CCAL_TAGGER_PS_TAC_m10
52676 | 300 kHz
52677 | 500 kHz
52678 | 750 kHz
52679 | 1000 kHz
Scan Holes Between CCAL Modules. TAC is behind the CCAL (Triggers: PS, CCAL, TAC)
Ebeam = 8.94 GeV, 2x10-5, 1.5 nA, PS magnet current 682.5 A, Empty target
52708 |  |  |  | hd_all.tsg_ccal_tagger_ps_tac
scan between rows -1 and 1 (columns -6 and -3) |  |  |  | CCAL_TAGGER_PS_TAC_m10
52709
scan in the middle of row 1 between columns -6 and -3