## Slide 1
Calibration of the PS and TAGH Energy
A. Somov and V. Berdnikov
Beamline meeting, June 8, 2019

## Slide 2
Corrections to the PS energy
Width of the PS detector
is well measured
Refine PS alignment:
four unknowns:
(Emin, Emax) L ,R
TAGH counter 110
(E = 8.89 GeV)

## Slide 3
Corrections to the PS energy
Slightly shifted

## Slide 4
Consistency Check
Set absolute PS energy according
to the beam energy
(fit to endpoint energy)
Ebeam = 11.167 GeV
Efit = 11.1658 +- 0.0004 GeV
TAGH 1
E(PS) – E(TAGH) = 4.2 +- 0.7

## Slide 5
Energy Correction