## Slide 1
Adjustment o f Tagger Time
Sasha
SRC meeting, 3/7/22
Calibration of the RF time
Adjustment of global TAGH timing offsets
Time calibration of individual channels

## Slide 2
PS and Tagger Times
PSC FR
TAGM after time adjustment by Bo
TAGH & TAGM are shifted by 0.4 ns
T (DET) - T (RF)
PSC RF is used as reference
PSC
PS
TAGH
TAGM

## Slide 3
Tagger Times
TAGH FR
TAGH & TAGM are shifted by about 1.8 ns
Runs 90186 - 90195
PS RF is used as reference

## Slide 4
RF Times
Time shift ~1.7 ns
Time shift ~0.4 ns
Before Calibration
After Calibration
TAGH - TOF
PSC - TOF

## Slide 5
Adjustment of TAGH global time offsets
TAGH
Shift by 0.2 ns
Run 90252
PSC FR
PS, PSC, and TAGM times are well aligned
TAGH time is shifted by
0.2 ns

## Slide 6
Individual Offsets
TAGM channel 21 (4 ns)
TAGH channels: 5 (8 ns), 125 (4 ns), 186 (4 ns)
Both ADC and TDC times are shifted
Time shift for almost all (491) SRC runs (corrected)
T (TAGH) – T (RF) (ns)
Counter
T (TAGM) – T (RF) (ns)