## Slide 1: Start Counter Construction Update
Eric Pooser
08/21/2014

## Slide 2: Current Status
The 30 best scintillators have been selected and fully tested
Rohacell support has been painted black and all gaps have been filled with black caulking
Shimming height has been determined (some materials are yet to be delivered)
  We require approximately 30 mils (762 um) of shimming
  Material is Kapton polyimide heavy duty film (type HN ρ = 1.42 g/cc)
  All ST1 PCBs have been positioned so that all paddles require approximately the same shimming height of 30 mils (20 mil < shim < 40 mil)
Final construction of the Start Counter is underway

## Slide 3: Wrapped Prototype Results

## Slide 4: Wrapped Prototype Results (continued)

## Slide 5: Results of Best 30 Paddles Wrapped

## Slide 6: Results of Best 30 Paddles Wrapped (continued)

## Slide 7: Calibration Measurement (3.02 mm)

## Slide 8: No Shimming (786 um)

## Slide 9: 10 mil Shimming (507 um)

## Slide 10: 20 mil Shimming (254 um)

## Slide 11: 25 mil Shimming (152 um)

## Slide 12: 30 mil Shimming (Best Possible Alignment)

## Slide 13: Future Plans
Fully Assemble Start Counter by Friday (08/22/2014)
  This includes shimming and sub 200 um coupling
Next Week:
  Wrap Start Counter with 80 gauge (0.8 mil) Bundling Wrap
  Finalize Start Counter Construction
  Verify all 30 channels are able to be read out
    Use 90Sr source to verify that all signal sizes are identical
Prepare Start Counter for transportation to Jlab
Ship MPOD, cables, and tools back to Nick
Deliver Start Counter to Jlab 09/02/2014

## Slide 14: Topics for Discussion
Documentation for delivery of Start Counter
Schedule upon arrival at JLab (09/02/2014)
  Light tightening
  Testing of read out channels
  Mounting to target
  Survey & Alignment
  Installation into Hall
  Commissioning/Calibration