## Sheet1
GlueX Computing Model
31557600
parameter | value | units | comments
event rate | 20000 | events/s | raw data rate out of the counting room when beam is on
annual running | 35 | weeks | amount of running in a year
running efficiency | 0.5 |  | fraction of wall time when beam is on, either due to beam unavailable or detector not ready
effective event rate (per second) | 6707.7344 | events/s | Event rate averaged over time
effective event rate (per year) | 211535112936.345 | events/year | Event rate averaged over time
CPU time per event | 0.13333 | CPU-s/event | Time to reconstruct a single event on a 2.8 GHz Nehalem machine, per thread, from Simon's email of 1/31/2011
single Pass 1 CPU needed | 894.3646 | CPU's | number of threads to keep up with the raw event rate
raw event size | 15000 | bytes | size of a single raw event
raw instantaneous storage rate | 300 | MB/s | data rate when beam is on
raw effective storage rate | 3.173e+15 | bytes/year | average data volume rate
raw effective storage rate | 3173.0267 | TB/year | average data volume rate
pass 0 event fraction | 0.05 |  | fraction of events from raw data stream to perform calibrations
pass 1 repetition factor | 2 |  | number of times event reconstruction will be repeated
pass 0 repetition factor | 2 |  | number of times calibration will be repeated
pass 0 CPU need | 89.4365 | CPU's | number of threads of calibration to keep up
pass 1 CPU need | 1788.7292 | CPU's | number of threads of reconstruction to keep up
stream/pass-1 CPU ratio | 0.1 |  | ratio of CPU time required for a skim stream to that needed for reconstruction
stream output to input size ratio | 0.1 |  | ratio of data volume output for a stream to that of input
stream multiplicity factor | 5 |  | number of streams to be produced
single stream CPU need | 89.4365 | CPU's | number of threads for one stream to keep up
stream repetition factor | 2 |  | number of times streaming will be repeated
stream CPU need | 894.3646 | CPU's | number of threads for streaming to keep up
single stream output data rate | 2.0123 | MB/s
total stream output data rate | 0.63504 | PB/year
MC CPU time per event, generation | 0.066667
MC CPU time per event, reconstruction | 0.13333
MC CPU ratio per event, generation | 0.5 | CPU-s/event | ratio of CPU time required for generating a Monte Carlo event to that needed for reconstruction
MC CPU ratio per event, reconstruction | 1 |  | ratio of CPU time to reconstruct Monte Carlo events to that to reconstruct real data
MC/raw data event rate ratio | 2 |  | ratio of number of Monte Carlo events needed to number of raw data events
MC event size | 15000 | bytes | size of a single generated Monte Carlo event
MC multiplicity factor | 2 |  | number of times MC data will need to be generated
MC effective event rate | 26830.9377 | events/s | event rate averaged over time of MC event generation
MC CPU need | 5366.1875 | CPU's | numbers of threads needed for generating Monte Carlo
MC pass 1 output event size | 3000 | bytes | size of a single reconstructed Monte Carlo event
MC effective data rate | 80.4928 | MB/s
MC effective data rate | 2.5402 | PB/year
analysis/pass-1 CPU ratio | 0.1 |  | ratio of CPU time required for performing a physics analysis to that needed for reconstruction
analysis multiplicity factor | 10 |  | number of analyses to be conducted
analysis CPU need | 894.3646 | CPU's | number of threads needed for analysis
total CPU need | 9033.0824 | CPU's | total number of threads needed for all activities
total CPU need exclusive of MC | 3666.8948 | CPU's | total number of threads needed for all activities
data rate, tape to cache disk | 100 | MB/s | average rate from tape library to cache disk
data rate, cache disk to local disk | 3 | MB/s | average rate from cache disk to local farm node disk
raw data recording tape need | 1.0062
Pass 1 output to input size ratio | 0.2 |  | ratio of output event size to input event size
pass1 processed event size | 3000 | bytes | reconstructed event size
Single pass 1 output data rate | 20.1232 | MB/s | data rate for a single pass 1 output stream
total pass 1 output data rate | 1.2701 | PB/year | data rate for all pass 1 output streams
Single pass 0 output data rate | 1.0062 | MB/s | data rate for a single pass 1 output stream
total pass 0 output data rate | 0.063504 | PB/year | data rate for all pass 0 output streams
single pass 1 tape need | 1.2074 | drives | number of tape drives needed to support pass 1, one iteration
Pass 1 tape need | 2.4148 | drives | number of tape drives needed to support pass 1, all iterations
single pass 0 tape need | 0.06037 | drives | number of tape drives needed to support pass 0, one iteration
Pass 0 tape need | 0.12074 | drives | number of tape drives needed to support pass 0, all iterations
single stream input tape need | 2.0123 | drives | number of tape drives needed to support input for streaming, one iteration
single set of stream output tape need (all streams) | 1.0062 | drives | number of tape drives needed to support output for streaming, one iteration
total stream tape need | 6.037 | drives | number of tape drives needed to support streaming, all iterations
MC tape drive need | 0.80493 | drives | number of tape drives needed to archive reconstructed MC data
total tape drive need | 10.3836 |  | total number of tape drives needed for all activities
disk usage per analysis | 20 | TB | permanent disk space used by an analysis
disk usage total | 200 | TB | permanent disk space used by all analyses
total output rate | 7.6818

## Sheet2
| Phase I | Phase II | Phase III | Phase IV
PAC days | 30 | 30 | 60 | 200
Days of running | 60 | 60 | 120 | 400 | Days of Running per PAC Day | 2
Running efficiency | 0.5 | 0.5 | 0.5 | 0.5 | Seconds per day | 86400
Running time (s) | 2592000 | 2592000 | 5184000 | 17280000 | Days per year | 365.25
Trigger rate (Hz) | 2000 | 20000 | 20000 | 20000 | Number of cores | 10000
Number of events | 5184000000 | 51840000000 | 103680000000 | 345600000000 | Ratio of Monte Carlo events to data events | 2
[5 empty] | event size (bytes) | 15000
Reconstruction time per event per core (s) | 0.13333 | 0.13333 | 0.13333 | 0.13333 | ratio of size of DST to Raw | 0.2
Reconstruction time, single core (y) | 21.9028 | 219.0281 | 438.0561 | 1460.1871 | number of calibration iterations | 3
Reconstruction time (d) | 0.8 | 8 | 16 | 53.3333 | fraction of raw data to calibrate | 0.1
Monte Carlo generation time per event per core | 0.066667 | 0.066667 | 0.066667 | 0.066667
Monte Carlo reconstruction time per event per core | 0.13333 | 0.13333 | 0.13333 | 0.13333
Monte Carlo time, gen. + recon. (d) | 2.4 | 24 | 48 | 160
Reconstruction time + MC time (d) | 3.2 | 32 | 64 | 213.3333
Calibration time | 0.24 | 2.4 | 4.8 | 16
raw data volume (bytes) | 77760000000000 | 777600000000000 | 1555200000000000 | 5184000000000000
raw data volume (PB) | 0.07776 | 0.7776 | 1.5552 | 5.184
DST data volume, real data, recon. (PB) | 0.015552 | 0.15552 | 0.31104 | 1.0368
total data to tape (PB) | 0.1804 | 1.804 | 3.6081 | 12.0269