## Counter_table2017
#Counter_table2017.txt |  |  | 2017-01-30
#x, y data from mounting plates (6/30/2014) and Spring 2017 survey, units=cm
#Using magnet shift, plate shift+rotation, and rotation of counter angle
#Neg. counter no. -> omitted in std config.; widths 179-217 revised 09-Mar-2016
#(Nominal energies Egam_hi, Egam_lo from Franz's 2013 table on Wiki)
#number | Egam_hi Egam_lo x[cm] y[cm] angle[deg] width[cm]
1 | 11.78 | 11.77 | -0.832 | -18.084 | 44.0826 | 2.1
2 | 11.77 | 11.76 | -8.102 | -8.085 | 43.0918 | 2.1
3 | 11.76 | 11.749 | 6.073 | -18.084 | 42.1214 | 2.1
4 | 11.749 | 11.738 | -1.808 | -8.084 | 41.1668 | 2.1
5 | 11.738 | 11.726 | 13.244 | -18.083 | 40.2424 | 2.1
6 | 11.726 | 11.714 | 4.72 | -8.084 | 39.3376 | 2.1
7 | 11.714 | 11.701 | 20.67 | -18.082 | 38.4563 | 2.1
8 | 11.701 | 11.688 | 11.493 | -8.083 | 37.5979 | 2.1
9 | 11.688 | 11.674 | 28.368 | -18.082 | 36.7604 | 2.1
10 | 11.674 | 11.66 | 18.531 | -8.082 | 35.9467 | 2.1
11 | 11.66 | 11.645 | 36.356 | -18.081 | 35.1537 | 2.1
12 | 11.645 | 11.629 | 25.844 | -8.082 | 34.381 | 2.1
13 | 11.629 | 11.613 | 44.645 | -18.08 | 33.6278 | 2.1
14 | 11.613 | 11.596 | 33.443 | -8.081 | 32.893 | 2.1
15 | 11.596 | 11.578 | 53.251 | -18.079 | 32.177 | 2.1
16 | 11.578 | 11.56 | 41.341 | -8.08 | 31.4794 | 2.1
17 | 11.56 | 11.541 | 62.19 | -18.079 | 30.7981 | 2.1
18 | 11.541 | 11.521 | 49.556 | -8.08 | 30.136 | 2.1
19 | 11.521 | 11.5 | 71.471 | -18.078 | 29.4901 | 2.1
20 | 11.5 | 11.478 | 58.099 | -8.079 | 28.8597 | 2.1
21 | 11.478 | 11.456 | 81.116 | -18.077 | 28.2467 | 2.1
22 | 11.456 | 11.433 | 66.982 | -8.078 | 27.6498 | 2.1
23 | 11.433 | 11.414 | 90.519 | -18.076 | 27.1351 | 1.6
24 | 11.414 | 11.395 | 74.541 | -8.078 | 26.7002 | 1.6
25 | 11.395 | 11.376 | 98.393 | -18.075 | 26.2743 | 1.6
26 | 11.376 | 11.356 | 81.777 | -8.077 | 25.8565 | 1.6
27 | 11.356 | 11.335 | 106.497 | -18.075 | 25.4472 | 1.6
28 | 11.335 | 11.314 | 89.231 | -8.076 | 25.0464 | 1.6
29 | 11.314 | 11.292 | 114.836 | -18.074 | 24.6531 | 1.6
30 | 11.292 | 11.27 | 96.909 | -8.076 | 24.2678 | 1.6
31 | 11.27 | 11.247 | 123.433 | -17.974 | 23.8905 | 1.6
32 | 11.247 | 11.223 | 104.816 | -8.075 | 23.5209 | 1.6
33 | 11.223 | 11.199 | 132.259 | -17.974 | 23.1534 | 1.6
34 | 11.199 | 11.174 | 112.958 | -8.074 | 22.8032 | 1.6
35 | 11.174 | 11.148 | 141.34 | -17.974 | 22.4502 | 1.6
36 | 11.148 | 11.121 | 121.361 | -7.974 | 22.1094 | 1.6
37 | 11.121 | 11.094 | 150.677 | -17.974 | 21.7755 | 1.6
38 | 11.094 | 11.066 | 129.99 | -7.974 | 21.4484 | 1.6
39 | 11.066 | 11.038 | 160.276 | -17.974 | 21.128 | 1.6
40 | 11.038 | 11.008 | 138.869 | -7.974 | 20.8141 | 1.6
41 | 11.008 | 10.989 | 169.202 | -17.974 | 20.5632 | 1
42 | 10.989 | 10.97 | 145.406 | -7.974 | 20.3733 | 1
43 | 10.97 | 10.951 | 175.492 | -17.974 | 20.186 | 1
44 | 10.951 | 10.931 | 151.204 | -7.974 | 20.0011 | 1
45 | 10.931 | 10.911 | 181.89 | -17.974 | 19.8184 | 1
46 | 10.911 | 10.891 | 157.105 | -7.974 | 19.6383 | 1
47 | 10.891 | 10.87 | 188.395 | -17.974 | 19.4604 | 1
48 | 10.87 | 10.849 | 163.11 | -7.974 | 19.2847 | 1
49 | 10.849 | 10.828 | 195.012 | -17.974 | 19.1114 | 1
50 | 10.828 | 10.806 | 169.22 | -7.974 | 18.9403 | 1
51 | 10.806 | 10.784 | 201.738 | -17.974 | 18.7715 | 1
52 | 10.784 | 10.762 | 175.437 | -7.974 | 18.6051 | 1
53 | 10.762 | 10.739 | 208.576 | -17.974 | 18.4408 | 1
54 | 10.739 | 10.716 | 181.761 | -7.974 | 18.2783 | 1
55 | 10.716 | 10.692 | 215.527 | -17.974 | 18.1179 | 1
56 | 10.692 | 10.669 | 188.194 | -7.974 | 17.9596 | 1
57 | 10.669 | 10.644 | 222.592 | -17.974 | 17.8035 | 1
58 | 10.644 | 10.62 | 194.737 | -7.974 | 17.6494 | 1
59 | 10.62 | 10.595 | 229.77 | -17.974 | 17.4973 | 1
60 | 10.595 | 10.57 | 201.39 | -7.974 | 17.3472 | 1
61 | 10.57 | 10.544 | 237.065 | -17.974 | 17.199 | 1
62 | 10.544 | 10.518 | 208.155 | -7.974 | 17.0528 | 1
63 | 10.518 | 10.492 | 244.477 | -17.974 | 16.9084 | 1
64 | 10.492 | 10.465 | 215.033 | -7.974 | 16.766 | 1
65 | 10.465 | 10.443 | 251.642 | -18.114 | 16.5921 | 0.8
66 | 10.443 | 10.421 | 220.967 | -7.974 | 16.5281 | 0.8
67 | 10.421 | 10.399 | 257.744 | -18.119 | 16.3707 | 0.8
68 | 10.399 | 10.377 | 226.629 | -7.974 | 16.3091 | 0.8
69 | 10.377 | 10.354 | 263.922 | -18.124 | 16.154 | 0.8
70 | 10.354 | 10.331 | 232.364 | -7.974 | 16.0946 | 0.8
71 | 10.331 | 10.308 | 270.177 | -18.129 | 15.9418 | 0.8
72 | 10.308 | 10.284 | 238.174 | -7.974 | 15.8846 | 0.8
73 | 10.284 | 10.26 | 276.507 | -18.134 | 15.734 | 0.8
74 | 10.26 | 10.236 | 244.058 | -7.974 | 15.6791 | 0.8
75 | 10.236 | 10.212 | 282.915 | -18.14 | 15.5306 | 0.8
76 | 10.212 | 10.187 | 250.043 | -8.113 | 15.4305 | 0.8
77 | 10.187 | 10.162 | 289.399 | -18.145 | 15.3314 | 0.8
78 | 10.162 | 10.137 | 256.077 | -8.118 | 15.2334 | 0.8
79 | 10.137 | 10.112 | 295.961 | -18.15 | 15.1364 | 0.8
80 | 10.112 | 10.086 | 262.186 | -8.123 | 15.0405 | 0.8
81 | 10.086 | 10.06 | 283.935 | -13.141 | 14.9455 | 0.8
82 | 10.06 | 10.044 | 305.318 | -18.158 | 14.869 | 0.5
83 | 10.044 | 10.027 | 269.733 | -8.129 | 14.8107 | 0.5
84 | 10.027 | 10.011 | 290.607 | -13.146 | 14.7527 | 0.5
85 | 10.011 | 9.994 | 311.643 | -18.163 | 14.6952 | 0.5
86 | 9.994 | 9.977 | 275.618 | -8.134 | 14.638 | 0.5
87 | 9.977 | 9.96 | 296.746 | -13.151 | 14.5812 | 0.5
88 | 9.96 | 9.943 | 318.037 | -18.169 | 14.5247 | 0.5
89 | 9.943 | 9.926 | 281.569 | -8.139 | 14.4687 | 0.5
90 | 9.926 | 9.909 | 302.953 | -13.156 | 14.413 | 0.5
91 | 9.909 | 9.892 | 324.499 | -18.174 | 14.3576 | 0.5
92 | 9.892 | 9.874 | 287.588 | -8.144 | 14.3027 | 0.5
93 | 9.874 | 9.857 | 309.228 | -13.161 | 14.2481 | 0.5
94 | 9.857 | 9.839 | 331.031 | -18.179 | 14.1938 | 0.5
95 | 9.839 | 9.821 | 293.675 | -8.149 | 14.14 | 0.5
96 | 9.821 | 9.803 | 315.571 | -13.167 | 14.0864 | 0.5
97 | 9.803 | 9.785 | 337.631 | -18.185 | 14.0333 | 0.5
98 | 9.785 | 9.767 | 299.83 | -8.154 | 13.9804 | 0.5
99 | 9.767 | 9.749 | 321.984 | -13.172 | 13.928 | 0.5
100 | 9.749 | 9.73 | 344.301 | -18.19 | 13.8758 | 0.5
101 | 9.73 | 9.712 | 306.053 | -8.159 | 13.824 | 0.5
102 | 9.712 | 9.693 | 328.464 | -13.177 | 13.7726 | 0.5
103 | 9.693 | 9.674 | 352.438 | -18.435 | 13.8023 | 0.5
104 | 9.674 | 9.655 | 312.345 | -8.164 | 13.6707 | 0.5
105 | 9.655 | 9.636 | 336.894 | -13.641 | 13.6203 | 0.5
106 | 9.636 | 9.617 | 359.265 | -18.431 | 13.651 | 0.5
107 | 9.617 | 9.598 | 318.705 | -8.169 | 13.5204 | 0.5
108 | 9.598 | 9.579 | 343.218 | -13.57 | 13.471 | 0.5
109 | 9.579 | 9.559 | 365.418 | -18.25 | 13.5027 | 0.5
110 | 9.559 | 9.54 | 325.134 | -8.175 | 13.3731 | 0.5
111 | 9.54 | 9.52 | 350.081 | -13.513 | 13.4054 | 0.5
112 | 9.52 | 9.5 | 371.518 | -18.043 | 13.3573 | 0.5
113 | 9.5 | 9.48 | 331.632 | -8.18 | 13.2286 | 0.5
114 | 9.48 | 9.46 | 358.157 | -13.813 | 13.2619 | 0.5
115 | 9.46 | 9.44 | 378.535 | -18.039 | 13.2147 | 0.5
116 | 9.44 | 9.42 | 338.199 | -8.185 | 13.087 | 0.5
117 | 9.42 | 9.399 | 363.709 | -13.505 | 13.1213 | 0.5
118 | 9.399 | 9.379 | 385.622 | -18.035 | 13.075 | 0.5
119 | 9.379 | 9.358 | 344.835 | -8.191 | 12.9482 | 0.5
120 | 9.358 | 9.337 | 368.638 | -13.045 | 12.9834 | 0.5
121 | 9.337 | 9.316 | 392.779 | -18.031 | 12.938 | 0.5
122 | 9.316 | 9.295 | 351.369 | -8.055 | 12.8929 | 0.5
123 | 9.295 | 9.274 | 375.604 | -13.041 | 12.8482 | 0.5
124 | 9.274 | 9.253 | 400.006 | -18.027 | 12.8037 | 0.5
125 | 9.253 | 9.231 | 358.144 | -8.051 | 12.7595 | 0.5
126 | 9.231 | 9.21 | 382.64 | -13.037 | 12.7156 | 0.5
127 | 9.21 | 9.188 | 407.302 | -18.022 | 12.672 | 0.5
-128 | 9.188 | 9.166 | 364.989 | -8.047 | 12.6287 | 0.5
-129 | 9.166 | 9.144 | 389.745 | -13.033 | 12.5857 | 0.5
-130 | 9.144 | 9.122 | 414.668 | -18.018 | 12.543 | 0.5
-131 | 9.122 | 9.1 | 371.903 | -8.043 | 12.5005 | 0.5
-132 | 9.1 | 9.078 | 396.92 | -13.028 | 12.4583 | 0.5
-133 | 9.078 | 9.055 | 422.104 | -18.014 | 12.4164 | 0.5
-134 | 9.055 | 9.033 | 378.886 | -8.039 | 12.3748 | 0.5
-135 | 9.033 | 9.01 | 404.165 | -13.024 | 12.3334 | 0.5
-136 | 9.01 | 8.987 | 429.61 | -18.009 | 12.2924 | 0.5
-137 | 8.987 | 8.964 | 385.94 | -8.035 | 12.2516 | 0.5
-138 | 8.964 | 8.941 | 411.479 | -13.02 | 12.211 | 0.5
-139 | 8.941 | 8.918 | 437.185 | -18.005 | 12.1708 | 0.5
-140 | 8.918 | 8.899 | 392.824 | -8.031 | 12.1347 | 0.4
-141 | 8.899 | 8.881 | 418.121 | -13.016 | 12.1029 | 0.4
-142 | 8.881 | 8.862 | 443.55 | -18.001 | 12.0712 | 0.4
-143 | 8.862 | 8.843 | 398.57 | -8.027 | 12.0397 | 0.4
-144 | 8.843 | 8.824 | 424.073 | -13.013 | 12.0084 | 0.4
-145 | 8.824 | 8.805 | 449.707 | -17.998 | 11.9772 | 0.4
-146 | 8.805 | 8.786 | 404.362 | -8.024 | 11.9462 | 0.4
-147 | 8.786 | 8.766 | 430.069 | -13.009 | 11.9154 | 0.4
-148 | 8.766 | 8.747 | 457.848 | -18.358 | 11.7793 | 0.4
-149 | 8.747 | 8.728 | 410.198 | -8.021 | 11.8542 | 0.4
-150 | 8.728 | 8.708 | 439.761 | -13.765 | 11.8239 | 0.4
-151 | 8.708 | 8.689 | 464.108 | -18.366 | 11.6882 | 0.4
-152 | 8.689 | 8.669 | 416.078 | -8.017 | 11.7636 | 0.4
-153 | 8.669 | 8.649 | 444.526 | -13.483 | 11.7338 | 0.4
-154 | 8.649 | 8.629 | 469.552 | -18.195 | 11.5986 | 0.4
-155 | 8.629 | 8.609 | 422.004 | -8.014 | 11.6745 | 0.4
-156 | 8.609 | 8.589 | 449.313 | -13.201 | 11.6451 | 0.4
-157 | 8.589 | 8.569 | 474.902 | -17.998 | 11.5104 | 0.4
-158 | 8.569 | 8.549 | 427.973 | -8.01 | 11.5868 | 0.4
-159 | 8.549 | 8.529 | 456.127 | -13.28 | 11.4524 | 0.4
-160 | 8.529 | 8.509 | 481.28 | -18.006 | 11.4236 | 0.4
-161 | 8.509 | 8.488 | 433.987 | -8.007 | 11.5004 | 0.4
-162 | 8.488 | 8.468 | 464.616 | -13.747 | 11.3665 | 0.4
-163 | 8.468 | 8.447 | 487.702 | -18.014 | 11.3382 | 0.4
-164 | 8.447 | 8.427 | 439.289 | -7.851 | 11.4154 | 0.4
-165 | 8.427 | 8.406 | 469.39 | -13.449 | 11.2819 | 0.4
-166 | 8.406 | 8.385 | 494.168 | -18.022 | 11.2541 | 0.4
-167 | 8.385 | 8.364 | 444.623 | -7.696 | 11.3318 | 0.4
-168 | 8.364 | 8.343 | 474.439 | -13.201 | 11.1987 | 0.4
-169 | 8.343 | 8.322 | 500.678 | -18.031 | 11.1713 | 0.4
-170 | 8.322 | 8.301 | 449.991 | -7.54 | 11.2494 | 0.4
-171 | 8.301 | 8.279 | 479.771 | -13.004 | 11.1169 | 0.4
-172 | 8.279 | 8.258 | 507.232 | -18.039 | 11.0898 | 0.4
-173 | 8.258 | 8.237 | 458.632 | -7.978 | 11.063 | 0.4
-174 | 8.237 | 8.215 | 486.166 | -13.012 | 11.0363 | 0.4
-175 | 8.215 | 8.194 | 513.829 | -18.047 | 11.0097 | 0.4
-176 | 8.194 | 8.177 | 464.607 | -7.985 | 10.9865 | 0.4
-177 | 8.177 | 8.161 | 491.797 | -13.02 | 10.9668 | 0.4
-178 | 8.161 | 8.145 | 519.083 | -18.054 | 10.9471 | 0.4
179 | 8.145 | 8.128 | 469.312 | -7.991 | 10.9275 | 0.4
180 | 8.128 | 8.112 | 496.65 | -13.026 | 10.908 | 0.4
181 | 8.112 | 8.095 | 524.085 | -18.06 | 10.8885 | 0.4
182 | 8.095 | 8.079 | 474.041 | -7.997 | 10.8692 | 0.4
183 | 8.079 | 8.062 | 501.529 | -13.032 | 10.8499 | 0.4
184 | 8.062 | 8.045 | 529.112 | -18.066 | 10.8307 | 0.4
185 | 8.045 | 8.029 | 478.796 | -8.003 | 10.8116 | 0.4
186 | 8.029 | 8.012 | 506.432 | -13.038 | 10.7925 | 0.4
187 | 8.012 | 7.995 | 534.163 | -18.073 | 10.7735 | 0.4
188 | 7.995 | 7.978 | 483.575 | -8.009 | 10.7546 | 0.4
189 | 7.978 | 7.961 | 511.359 | -13.044 | 10.7358 | 0.4
190 | 7.961 | 7.944 | 539.239 | -18.079 | 10.7171 | 0.4
191 | 7.944 | 7.927 | 488.379 | -8.015 | 10.6984 | 0.4
192 | 7.927 | 7.91 | 516.311 | -13.05 | 10.6798 | 0.4
193 | 7.91 | 7.893 | 544.339 | -18.085 | 10.6613 | 0.4
194 | 7.869 | 7.851 | 495.542 | -8.024 | 10.6071 | 0.4
195 | 7.809 | 7.791 | 554.513 | -18.098 | 10.5441 | 0.4
196 | 7.749 | 7.731 | 506.781 | -8.038 | 10.4831 | 0.4
197 | 7.689 | 7.671 | 512.368 | -8.045 | 10.4231 | 0.4
198 | 7.629 | 7.611 | 517.934 | -8.052 | 10.3641 | 0.4
199 | 7.569 | 7.551 | 523.48 | -8.059 | 10.3061 | 0.4
200 | 7.509 | 7.491 | 529.005 | -8.066 | 10.2501 | 0.4
201 | 7.449 | 7.431 | 534.51 | -8.073 | 10.1951 | 0.4
202 | 7.389 | 7.371 | 539.997 | -8.08 | 10.1421 | 0.4
203 | 7.329 | 7.311 | 545.464 | -8.087 | 10.0891 | 0.4
204 | 7.269 | 7.251 | 550.913 | -8.094 | 10.0371 | 0.4
205 | 7.209 | 7.19 | 612.801 | -17.945 | 10.0153 | 0.5
206 | 7.15 | 7.13 | 618.496 | -17.949 | 9.9663 | 0.5
207 | 7.09 | 7.07 | 624.176 | -17.954 | 9.9173 | 0.5
208 | 7.03 | 7.01 | 629.832 | -17.958 | 9.8703 | 0.5
209 | 6.97 | 6.95 | 577.986 | -7.918 | 9.8233 | 0.5
210 | 6.91 | 6.89 | 641.087 | -17.967 | 9.7783 | 0.5
211 | 6.85 | 6.83 | 588.664 | -7.927 | 9.7333 | 0.4
212 | 6.79 | 6.77 | 652.272 | -17.975 | 9.6893 | 0.4
213 | 6.73 | 6.71 | 599.279 | -7.935 | 9.6463 | 0.5
214 | 6.67 | 6.65 | 663.381 | -17.984 | 9.6043 | 0.4
215 | 6.61 | 6.59 | 609.835 | -7.943 | 9.5633 | 0.5
216 | 6.55 | 6.53 | 674.421 | -17.992 | 9.5223 | 0.4
217 | 6.49 | 6.47 | 620.333 | -7.951 | 9.4823 | 0.4
218 | 6.43 | 6.41 | 685.396 | -18 | 9.4433 | 0.3
219 | 6.371 | 6.349 | 690.856 | -18.005 | 9.4053 | 0.3
220 | 6.311 | 6.289 | 635.978 | -7.963 | 9.3673 | 0.3
221 | 6.251 | 6.229 | 641.167 | -7.967 | 9.3303 | 0.3
222 | 6.191 | 6.169 | 646.344 | -7.971 | 9.2933 | 0.3
223 | 6.131 | 6.109 | 651.507 | -7.975 | 9.2573 | 0.3
224 | 6.071 | 6.049 | 687.303 | -13.002 | 9.2223 | 0.3
225 | 6.011 | 5.989 | 661.799 | -7.982 | 9.1873 | 0.3
226 | 5.951 | 5.929 | 666.926 | -7.986 | 9.1533 | 0.3
227 | 5.891 | 5.869 | 672.043 | -7.99 | 9.1193 | 0.3
228 | 5.831 | 5.809 | 677.148 | -7.994 | 9.0863 | 0.3
229 | 5.771 | 5.749 | 744.516 | -18.069 | 9.087 | 0.3
230 | 5.711 | 5.689 | 749.824 | -18.07 | 9.055 | 0.3
231 | 5.651 | 5.629 | 755.122 | -18.071 | 9.023 | 0.3
232 | 5.591 | 5.569 | 760.405 | -18.072 | 8.992 | 0.3
233 | 5.531 | 5.509 | 702.342 | -8.061 | 8.962 | 0.3
234 | 5.471 | 5.449 | 770.929 | -18.074 | 8.932 | 0.3
235 | 5.412 | 5.388 | 712.417 | -8.063 | 8.902 | 0.3
236 | 5.352 | 5.328 | 781.413 | -18.076 | 8.873 | 0.3
237 | 5.292 | 5.268 | 722.453 | -8.064 | 8.844 | 0.3
238 | 5.232 | 5.208 | 791.858 | -18.078 | 8.815 | 0.3
239 | 5.172 | 5.148 | 732.452 | -8.066 | 8.787 | 0.3
240 | 5.112 | 5.088 | 802.25 | -18.08 | 8.76 | 0.3
241 | 5.052 | 5.028 | 742.415 | -8.068 | 8.732 | 0.3
242 | 4.992 | 4.968 | 812.611 | -18.082 | 8.705 | 0.3
243 | 4.932 | 4.908 | 817.77 | -18.083 | 8.679 | 0.3
244 | 4.872 | 4.848 | 757.297 | -8.071 | 8.653 | 0.3
245 | 4.812 | 4.788 | 762.744 | -8.148 | 8.627 | 0.3
246 | 4.752 | 4.728 | 768.185 | -8.226 | 8.601 | 0.3
247 | 4.692 | 4.668 | 773.621 | -8.303 | 8.576 | 0.3
248 | 4.632 | 4.608 | 808.889 | -12.878 | 8.551 | 0.3
249 | 4.572 | 4.548 | 815.251 | -13.082 | 8.526 | 0.3
250 | 4.512 | 4.488 | 786.857 | -8.077 | 8.502 | 0.3
251 | 4.452 | 4.428 | 792.275 | -8.154 | 8.477 | 0.3
252 | 4.392 | 4.368 | 797.689 | -8.231 | 8.453 | 0.3
253 | 4.333 | 4.307 | 803.099 | -8.309 | 8.43 | 0.3
254 | 4.273 | 4.247 | 874.01 | -17.567 | 8.4234 | 0.3
255 | 4.213 | 4.187 | 879.079 | -17.566 | 8.4004 | 0.3
256 | 4.153 | 4.127 | 884.145 | -17.566 | 8.3774 | 0.3
257 | 4.093 | 4.067 | 889.208 | -17.565 | 8.3544 | 0.3
258 | 4.033 | 4.007 | 894.26 | -17.565 | 8.3324 | 0.3
259 | 3.973 | 3.947 | 899.319 | -17.564 | 8.3094 | 0.3
260 | 3.913 | 3.887 | 904.369 | -17.564 | 8.2874 | 0.3
261 | 3.853 | 3.827 | 909.419 | -17.563 | 8.2654 | 0.3
262 | 3.793 | 3.767 | 914.47 | -17.562 | 8.2434 | 0.3
263 | 3.733 | 3.707 | 850.254 | -7.57 | 8.2224 | 0.3
264 | 3.673 | 3.647 | 855.119 | -7.569 | 8.2004 | 0.3
265 | 3.613 | 3.587 | 859.986 | -7.569 | 8.1794 | 0.3
266 | 3.553 | 3.527 | 864.856 | -7.568 | 8.1584 | 0.3
267 | 3.493 | 3.467 | 869.729 | -7.567 | 8.1374 | 0.3
268 | 3.433 | 3.407 | 874.605 | -7.567 | 8.1164 | 0.3
269 | 3.373 | 3.347 | 879.486 | -7.566 | 8.0954 | 0.3
270 | 3.313 | 3.287 | 884.373 | -7.566 | 8.0744 | 0.3
271 | 3.253 | 3.227 | 889.266 | -7.565 | 8.0534 | 0.3
272 | 3.193 | 3.167 | 894.165 | -7.565 | 8.0334 | 0.3
273 | 3.133 | 3.107 | 899.072 | -7.564 | 8.0124 | 0.3
274 | 3.073 | 3.047 | 903.987 | -7.564 | 7.9924 | 0.3