|  |  |
| --- | --- |
| TITLE: WRAP MYLAR AND TEDLAR AROUND LOWER PORTION OF LIGHT GUIDE | DATE: 09/18/2013 |
|  |  |
| BY: WILLIAM CRAHEN | APP: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
|  | PRINT: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| CHK:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  PRINT: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | APP: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  PRINT:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
| REV. | DESCRIPTION | BY | CHK. | APP. | APP. | DATE |

**PREPERATION**

**Safety Equipment Required:**

****

**Work Area Requirements:**

**The work area should be well ventilated with good lighting. There should be no adjacent activities that generate particles/dust or aerosol contaminants.**

**# of Technicians Required:**

**1**

**Material Required:**

48 Gauge (12 micron/.00048” thick) aluminized Mylar rectangle precut to 5 ½” by 3 5/8”. One required/PMT.

Black (opaque) TEDLAR film rectangle .0015” thick, precut to 5 ½” by 3 5/8”. One required/PMT.

¾” wide 3M 810 Scotch MAGIC tape precut into rectangles ¾” by ¼”. two required/PMT.

3M super 33+ electrical tape, ¾” wide.

Isopropyl Alcohol

Scales

**Note: Safety glasses are required when using Isopropyl Alcohol**

**Note: GLOVES MUST BE NITRILE, NOT LATEX! LATEX INTERFERES WITH CURING OF THE SILICONE.**

**Procedure**

1. Wipe down the light guide with Isopropyl alcohol and a lint free wipe. Use the Isopropyl alcohol wipe to clean any finger prints off the Aluminized Mylar as well:



1. Position the Aluminized Mylar piece at the edge of the Silicone joint as shown below. The 5 ½” dimension will wrap the guide twice. Do not tape the beginning of the Mylar to the guide. Wrap tightly around the guide with no wrinkles (wrinkles would affect the final diameter, which will be clamped with a precision split collar). The area where the collar will be is shown below. Do not tape over the Mylar lap, instead, tape the Tedlar onto the end of the Mylar with the Scotch Magic strips as shown in the second picture:



Possible alternate steps- tape the Tedlar onto the Mylar before wrapping.

Collar area

0.7”

2.1”



1. Continue the wrap with the Tedlar, keeping it tight and wrinkle free. The ends can now be wrapped with ONE COMPLETE WRAP of Scotch 33+ electrical tape. Note that the left wrap shown below MUST NOT be closer than 2.8” to the edge of the PMT (collar area):



**2.8”**

1. **Use calipers to confirm that the collar clamp area is 0.888 +/-.003” in diameter. If this measurement is out of range, you may have wrinkles. Correct/repeat the wrap as needed.**
2. The light guide/PMT joint area can now be over-wrapped with layers of electrical tape. Do not add tape to the other end! Store the assembly in a light tight container until the next step.

