## Sheet1
Hall D DIRC Water System Chemical Analysis
Sample Date: |  | 2017-09-14 | 2017-09-14 | 2017-09-28 | 2017-09-28 | 2018-07-27 | 2018-10-16 | 2019-02-05 | 2019-06-13 | 2019-06-17 | 2019-12-18 | 2020-09-22
Location: |  | LCW | after Filter | Water Skid | Tank Return | Water Skid | Water Skid | Water Skid | Water Skid | South OB | water skid | BL OB
Parameter | unit
Coliform-Colilert | Pres/Abs | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent | Absent
Total Boron | mg/L | <0.050 | <0.050 | <0.050 | <0.050 | <0.050 | <0.050 | <0.050 | <0.050 | <0.050 | <0.050 | <0.050
Total Nickel | mg/L | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | 0.012 | 0.02 | 0.022 | 0.042 | 0.039
Total Sodium | mg/L | <0.050 | 1.14 | 0.64 | 0.637 | 0.735 | 0.389 | 0.32 | 0.305 | 0.321 | <.05 | <.05
Total Copper | mg/L | 0.162 | <0.001 | 0.001 | 0.001 | 0.005 | 0.004 | 0.006 | 0.003 | 0.002 | 0.004 | 0.008
Total Aluminium | mg/L | <0.050 | <0.050 | <0.050 | 0.081 | <0.050 | <0.050 | <0.050 | <0.050 | <0.050 | <0.050 | <0.050
Total Iron | mg/L | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010
Total Chromium | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Total Molybdenum | mg/L | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005
Silica (Reactive | mg/L | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2