## Slide 1
S
G
20 mm Au plated W sense wire
50 mm Be-Cu field wire
Cathode planes, 1/32” aluminum plates
Chamber geometry
For the designs we’ve considered so far, S=2G, and VF=0
V=0
V=0
+VS
VF

## Slide 2: Choice of gas and electric field
Zhao et al, Nucl. Inst. & Methods, 1993
Ar:CO2 80:20
6 cm/ms @ 1.5 kV/cm
Ar:CO2:CF4 88:2:10
10 cm/ms @ .75 kV/cm

## Slide 3
Optimize size and voltage for Ar:CO2 = 80:20
E = 1.5 kV/cm
E = 254 kV/cm
G
V
V
E = 254 kV/cm corresponds to a gas gain of 105
S

## Slide 4
Optimize size and voltage for Ar:CO2:CF4 = 88:2:10
E = .75 kV/cm
E = 254 kV/cm
G
V
V
E = 254 kV/cm corresponds to a gas gain of 105
S

## Slide 5
S cm | G cm | VS | VF | V cathode
2 | 1 | 1830 | 0 | 344
1 | 1 | 1880 | 0 | 530
1 | 1 | 2050 | 500 | 750