Correlation between PWO crystals transmittance spectrum and visual defect observations
Vladimir Berdnikov (CUA)
Web meeting with SICCAS. JLAB 04/15/19

---
Transmittance measurements method at CUA with the spectrometer
PerkinElmer Lambda 950 spectrometer

---
Transmittance measurement results of SICCAS PWO crystals
Nonuniform transmittance spectra
Clear correlations between bad transmittance spectrum and visual defects
Bad spectrum due bad composition and doping
Bad spectrum due crystal discoloration